TENDER DOCUMENT

RETROFITTING OF EXISTING INLINE ISOLATION VALVE CHAMBERS AND HYDROSTATIC PRESSURE TESTING OF DN 300 GRP PIPELINE FROM THE ALEXANDRIA MAIN TRANSFER PUMP-STATION TO THE ALEXANDRIA RESERVOIR:

TENDER NOTICE NUMBER: ALEXANDRIA 001

|  | TABLE OF CONTENT |  |
| --- | --- | --- |
| SUMMARY PAGE FOR TENDER OPENNING PURPORSES |  |  |
| CONTENTS PAGE |  |  |
| PORTION 1: TENDER |  |  |
| PART T1 PART T2 PART C1 PART C2 | TENDERING PROCEDURES SECTION T1.1 TENDER NOTICE AND INVITATION TO TENDER SECTION T1.2 TENDER DATA SECTION T1.3 STANDARD CONDITIONS OF TENDER RETURNABLE DOCUMENTS SECTION T2.1 LIST OF RETURNABLE DOCUMENTS AGREEMENTS AND CONTRACT DATA SECTION C1.1: FORM OF OFFER AND ACCEPTANCE SECTION C1.2: CONTRACT DATA SECTION C1.4 OCCUPATIONAL HEALTH AND SAFETY AGREEMENT PRICING DATA SECTION C2.1: PRICING INSTRUCTIONS SECTION C2.2: BILL OF QUANTITIES FINAL SUMMARY OF TENDER AMOUNT |  |
| PORTION 2: CONTRACT |  |  |
| PART C3 | SCOPE OF WORK SECTION C3.1: DESCRIPTION OF THE WORKS SECTION C3.2: CONSTRUCTION SPECIFICATIONS PART A: PROJECT SPECIFICATION |  |

PART T1.1: TENDER NOTICE & INVITATION TO TENDER

TENDER NOTICE & INVITATION TO SUBMIT QUOTE FROM NDLAMBE LOCAL SMMES

PROJECT NAME: RETROFITTING OF EXISTING INLINE VALVE CHAMBERS AND HYDROSTATIC PRESSURE TESTING OF DN300 PIPELINE FROM ALEXANDRIA TRANSFER PUMP STATION TO ALEXANDRIA RESERVOIR

TENDERS ARE HEREBY INVITED FROM SUITABLE CONSTRUCTION FIRMS FOR THE FOLLOWING:

| Project Name | Number of SMMEs Required | Scope (Brief) | CIDB Grading | Closing Date & Time |
| --- | --- | --- | --- | --- |
| General excavations | 1 | The project is a stated above and the excavation will only depend on leaks and the fittings. The SMME is expected to price per cubic meter of excavation as the work is not quantified yet. | 1 CE/1GB | 24/05/2024 @12H00 |
| Building of valve chambers | 1 | The construction of three chambers of a size of 1.5m x 1.5m square valve chamber. Demolishing of 1 chamber with an area of 1m x 1m of a square chamber. | 1CE/ 1GB | 24/05/2024 @12H00 |

Only tenderers with a construction industry Development Board (CIDB) minimum grading as indicated above will be eligible to tender.

Tender documents may be downloaded from the Ndlambe Local Municipality website at no cost, from 17/05/2024.

The site of the works is located close to the Pump station in Alexandria (contract no 15)

Bidders should take note of possible questions and drawings herewith attached in this advert. For any further clarity, all communications must be in writing.

Completed tender documents in sealed envelopes clearly written on the outside as per the bid document: e.g. “RETROFITTING OF EXISTING INLINE VALVE CHAMBERS AND HYDROSTATIC PRESSURE TESTING OF DN300 PIPELINE FROM ALEXANDRIA TRANSFER PUMP STATION TO ALEXANDRIA RESERVOIR”, must be placed in the relevant tender box at Supply Chain offices at No.  44 Campbell Street, Port Alfred by no later than 12:00 on 24/05/2024. Bid opening register will be forwarded to all bidders on the same day and the opening meeting will be conducted at the SCM office for transparency. Interested bidders who would like to witness the tender opening should indicate via email and the municipality will make allowance for them to be part of the opening.

BIDS WILL BE EVALUATED ON THE BASIS OF RESPONSIVENESS FIRST THEN FUNCTIONALITY AND ONLY RESPONSIVE BIDS WILL BE EVALUATED ON PRICE.

Functionality:	100 points, Minimum qualifying points will be 70 for further evaluation.

| FUNCTIONALITY | POINTS |
| --- | --- |
| Experience | 40 |
| Bids must submit a Curriculum Vitae of a competent person who will be a foreman/ supervisor for the duration of the contract and must have the following requirements: - Minimum of Six (6) months experience in supervision of the scope of works stipulated in the relevant Bill of Quantities with at least 3 contact references (Client, Name of the project, Contact name and telephone numbers) Failure to submit the required documents will score zero (0) points. | 40 |
| Locality | 60 |
| Bidder residing within Ndlambe municipality: - Proof of water/ electrical municipal services bill not older than 3 months. Unverified documentation will score zero (0) points | 60 |

PROSPECTIVE BIDDERS SHALL TAKE NOTE OF THE FOLLOWING BID CONDITIONS:

- It should be noted that the 80/20 points system will be applied, 80 being for price and 20 for the B-BBEE status level as defined in the Preferential Procurement Regulations, 2017.

- The award will be made in terms of the Municipality’s Supply Chain Management Policy.

- Prices must be valid for at least ninety (90) days from the closing date.

- Prices quoted must be firm.

- Oko 1020 Trading does not bind itself to accept the lowest bid or any other bid and reserves the right to accept the whole or part of the bid.

- An original tax clearance certificate issued by SARS must accompany all tenders OR a tax reference number and PIN or TCC number must be provided. Tax status will also be verified against the Central Supplier Database (CSD)

- Evidence of registration of company on the Central Supplier Database must be provided (CSD “MAAA” number).

- Bidders who wish to claim for preferential points in terms of the Preferential Procurement Regulations, 2017, must submit a certified copy of the proof of B-BBEE status level of contribution as follows:

    - In the case of an Affidavit, both the Commissioner of Oaths stamp for the Affidavit itself (the “commissioning”) AND a “true copy” stamp (which certifies the document as being a true copy of the original) are required i.e. TWO stamps are required.

    - In the case of a B-BBEE Certificate, only a “true copy” stamp and signature (which certifies the document as being an accurate copy) is required i.e. ONE stamp is required.

- A Municipal Billing Clearance Certificate, which covers, if applicable, both the company and its directors, must accompany all bids (included in the returnable document).

- In case of the joint Venture, a memorandum of agreement indicating the level of involvement and responsibilities of each joint venture partner must be submitted. Individual partners are to comply and submit all relevant documents.

- Bids that are late will not be considered, whilst the lowest or only quotation will not necessarily be accepted. Quotations per fax or E-mail will also not be considered.

- Bidders to submit a letter of Good standing from compensation commission within 7 days upon receipt a letter of intent to appoint

- Bidders must submit a Company Registration Certificate.

- It has been determined that, in terms of 2017 PPPFA Regulations 4(1)(a), only tenderers with a minimum B-BBEE Status level of contribution of 1 (One) may respond to the invitations in respect of All packages as set out in this contract.

- Evidence of registration of company on the Central Supplier Database must be provided (CSD “MAAA” number).

- Bidders to submit a Programme of Works stipulating the time needed to complete the relevant schedules.

Enquiries relating to technical matters may be referred Ms P. Hlaba 063 444 8160 or ohlaba@gmail.com

PART T1.2: TENDER DATA

The conditions of Tender are the Standard Conditions of Tender as contained in Annexure F of the CIDB Standard for Uniformity in Construction Procurement in Board Notice 136 of 2015 in Government Gazette No. 38960 of 10 July 2015, bound into Section T1.3

The Standard Conditions of Tender makes several references to the Tender Data. The Tender Data shall have precedence in the interpretation of any ambiguity or inconsistency between it and the Standard Conditions of Tender to which it mainly applies.

| Reference to relevant clauses in Standard Conditions of Tender |  | Addition or Variation to Standard Condition of Tender |
| --- | --- | --- |
| F.1.1 | Actions | The Employer is: OKO 1020 TRADING The term “bid” in the context of this standard is synonymous with term “Tender”. |
| F.1.2 | Tender documents | Volume 1: Tender Document: This document in which the following sections are bound: Tendering Procedures, Returnable Documents, Agreements and Contract Data, Pricing Data, Scope of Work and Site Information. Volume 2: GCC 2015 3rd Edition |
| F.1.3 | Interpretation | Interpretation F.1.3.1 The tender data and additional requirements contained in the tender schedules that are included in the returnable documents are deemed to be part of these conditions of tender. F.1.3.2 These conditions of tender, the tender data and tender schedules which are only required for tender evaluation purposes, shall not form part of any contract arising from the invitation to tender. F.1.3.3 For the purposes of these conditions of tender, the following definitions apply: a) Conflict of interest means any situation in which: i) Someone in a position of trust has competing professional or personal interests which make it difficult to fulfil his or her duties impartially; ii) an individual or organisation is in a position to exploit a professional or official capacity in some way for their personal or corporate benefit; or iii) incompatibility or contradictory interests exist between an employee and the organisation which employs that employee. b) comparative offer means the price after the factors of a non-firm price and all unconditional discounts it can be utilised to have been taken into consideration; c) corrupt practice means the offering, giving, receiving or soliciting of anything of value to influence the action of the employer or his staff or agents in the tender process; d) fraudulent practice means the misrepresentation of the facts in order to influence the tender process or the award of a contract arising from a tender offer to the detriment of the employer, including collusive practices intended to establish prices at artificial levels; e) organization means a company, firm, enterprise, association or other legal entity, whether incorporated or not, or a public body; and f) functionality means the measurement according to the predetermined norms of a service or commodity designed to be practical and useful, working or operating, taking into account quality, reliability, viability and durability of a service and technical capacity and ability of a tenderer. |
| Add the following new clause: “F.1.3.3(g)” |  | The Tender documents have been drafted in English. The Contract arising from the invitation of Tender shall be interpreted and construed in English.” |
| F.1.4 | Communication and Employer’s Agent | The Employer’s representative is: Oko Trading |

| Reference to relevant clauses in Standard Conditions of Tender |  | Addition or Variation to Standard Condition of Tender |
| --- | --- | --- |
| F.2.1 | Eligibility | - Only Tenderers with a Construction Industry Development Board CE/GB (CIDB) minimum grading as indicated above will be eligible to tender. - Joint ventures are eligible to submit Tenders provided that: - Every member of a joint venture is registered with the CIDB. - The lead partner has a Contractor grading designation in the 1CE /GB class or higher of construction work. NB: The joint venture shall comply with all the requirements above |
| F.2.2 | Cost of Tendering | Add the following to the clause: “Accept that the Employer will not compensate the Tenderer for any costs incurred in attending interviews in the office of the Employer or the Employer’s Agent.” |
| F.2.5 | Reference documents | - The document “General Conditions of Contract for Construction Works, 3rd Edition, (GCC 2015)” - The SANS/ SABS 1200 SERIES - The document “Occupational Health and Safety Act No 85 and Amendment Act No 181 of 1993, and the Construction Regulations 2014 (Government Gazette No 37305 of 7 February 2014)” Tenderers, Contractors and Sub Contractors shall obtain their own copies of these documents for Tendering purposes and for use for the duration of the Contract. |
| F.2.7 | Site visit and clarification meeting | Due to COVID19 regulations NO COMPULSORY Briefing session will be held. For any further clarity, all communications should be in writing and clarity questions will be responded to in writing to all bidders who have purchased tender documents. |
| F.2.9 | Insurance | Add the following to the clause: “Accept that the submission of a Tender shall be construed as an acknowledgement by the Tenderer that he/she will provide his/her own insurance for this Contract.” The Employer will not provide for any insurance as it will be provided for by the Contractor. |
| F.2.11 | Alterations to documents | Add the following to the clause: “In the event of errors having been made on the price schedule it must be crossed out in ink and be accompanied by an initial at each and every price alteration. Corrections in terms of price must not be made by means of a correction fluid such as Tipp-Ex or similar product. If correction fluid has been used on any specific item price, such item will not be considered. No correction fluid may be used in a Bill of Quantities where prices are calculated to arrive at a total amount. If correction fluid has been used the Tender as a whole will not be considered. The Oko Trading will reject the bid if corrections are not made in accordance with the above. Tampering with or taking the documents apart is strictly prohibited. All additional documentation must be stapled into the Tender document or attached in a separate file.” |
| F.2.12 | Alternatives | No alternatives will be permitted. |

| F.2.13 | Submitting a Tender Offer |  |
| --- | --- | --- |
| F.2.13.2 |  | Each Tenderer is required to return the complete set of documents as listed in the Tender Data with all the required information supplied and completed in all respects. |
| F.2.13.3 |  | Parts of each Tender Offer communicated on paper shall be submitted as an original plus zero copies. |
| F.2.13.4 F.2.13.5 |  | Add the following to the clause: “Only authorised signatories may sign the original and all copies of the Tender offer where required in terms of 2.13.3 In the case of a ONE-PERSON CONCERN submitting a Tender, this shall be clearly stated. In case of a COMPANY submitting a Tender, include a copy of a resolution by its board of directors authorizing a director or other official of the company to sign the documents on behalf of the company. In the case of a CLOSED CORPORATION submitting a Tender, include a copy of a resolution by its members authorizing a member or other official of the corporation to sign the documents on each member’s behalf. In the case of a PARTNERSHIP submitting a Tender, all the partners shall sign the documents, unless one partner or a group of partners has been authorised to sign on behalf of each partner, in which case proof of such authorization shall be included in the Tender. Accept that failure to submit proof of authorization to sign the Form of Offer shall result in a Tender Offer being regarded as non-responsive. The Client’s address for delivery of Tender offers: NDLAMBE MUNICIPALITY Civic Centre Causeway, PORT ALFRED 6170 (The Tender box is open during office hours 08h00 until 16h00) |
| F.2.13.6 |  | A TWO-ENVELOPE PROCEDURE WILL NOT BE FOLLOWED. |
| F.2.14 | Information and Data to be completed in all respects | Add the following to the clause: “Accept that the Employer shall in the evaluation of Tenders take due account of the Tenderers’ past performance in executing for similar works of comparable magnitude, and the degree to which he possesses the necessary technical, financial and other resources to enable him to complete the Works successfully within the Contract period. Satisfy the Employer as to his ability to perform and complete the Works timeously, safely and with satisfactory quality, by furnish details in Section T2.2.” |
|  |  | Accept that the Employer is restricted in accordance with clause 4. (4) of the Construction Regulations, 2003, to only appoint a Contractor whom he is satisfied has the necessary competencies and resources to carry out the work safely. Accept that submitting inferior and inadequate information relating to health and safety (as required in clause F.2.23) shall be regarded as justifiable and compelling reasons not to award a Contract to a Tenderer.” |
| F.2.15 2.15.1 | Closing time | The closing time for submission of Tender offers is: 12:00 on 24/05/2024. |
| F.2.16 F.2.16.1 | Tender Offer validity | The Tender Offer validity period is 90 days. Add the following to the clause: “If the Tender validity expires on a Saturday, Sunday or public holiday, the Tender Offer shall remain valid and open for acceptance until the closure of business on the following working day.” |
| F.2.19 | Inspections, tests and analysis | The Tenderer must provide access during working hours to his premises for inspections on request. |
| F.2.23 | Certificates | The following certificates / information must be provided with the Tender offer: |
|  |  | a) Copy of Founding Statement (if Tenderer is a Closed Corporation), e.g. CK1, or CK2. b) Joint Venture Agreement (if Tenderer is intending to form a Joint Venture), c) Copy of Identity Document (if Tenderer is a One-man concern), d) Copy of Deed of Trust (If a trust is involved). e) CIDB grading certificate f) Qualifications of appointees/ key personnel g) Tax clearance certificate. |
| Add the following new clause: “F.2.24” | Canvassing and obtaining of additional information by Tenderers | Accept that no Tenderer shall make any attempt either directly or indirectly to canvass any of the Employers officials or the Employer’s agent in respect of his Tender, after the opening of the Tenders but prior to the Employer arriving at a decision thereon. No Tenderer shall make any attempt to obtain particulars of any relevant information, other than that disclosed at the opening of Tenders.” |
| Add the following new clause: “2.25 | Awards to close family members of persons in the service of the state | In order to adjudicate fairness or eligibility, the questionnaire for the declaration of interests in the Tender of persons in service of state in Section T2.2.4 must be completed.” |
| Add the following new clause: “F.2.26” | Tax | “Submission of a Valid Tax Status Compliance report with Pin Issued is compulsory.” “Bidders should note, that in accordance with legislation, no Contract may be awarded to a/a person/entity who has failed to submit a SARS tax Compliance status report with Pin Issued where tax matters can be verified, certifying that the taxes of that person/entity are in order or that suitable arrangements have been made with SARS.” In Bids where Consortia/ Joint Venture/ Sub Contractors are involved each party must submit a separate and Original Valid Tax Clearance Certificate and SARS tax status Compliance report with Pin Issued. |
| F.3.1 | Respond to clarification | Replace the contents of the clause with the following: “Respond to a request for clarification received up to five (5) calendar days before the Tender closing time stated in the Tender data and notify all Tenderers who drew procurement documents” |
| F.3.4 | Opening of Tender submissions | The closing date and time for receipt of Tenders is 24 May 2024 at 12h00. Tenders will be received on the closing date and time shown, must be enclosed in a sealed envelope bearing the applicable Tender heading and Contract number. Tenders must be submitted in the Tender box situated on the first floor at: NDLAMBE MUNICIPALITY, Supply Chain Management Unit Office No.8, First Floor, 47 Campbell Street, Port Alfred, 6170 Only Tenders submitted to this Tender box will be opened and considered. |
| F.3.11 | Evaluation of Tenders | The Tender evaluation method to evaluate all responsive Tender offers will be Method 2. |
| F.3.11.1 | General | Apply the 80/20 Preference Point system where a maximum of Eighty (80) Tender adjudication point be awarded for price. Twenty (20) points will be awarded for preference in terms of the Preferential Procurement Policy Framework Act (Act 5 of 2000) and Preferential Procurement Regulation, 2017. See section T2.2.8, Form H for the Preference model. The financial offer will be scored in terms of Method 2, option 1 of the Standard Conditions of Tender (Section T1.3 of the document). Functionality will be scored on those Tenders regarded as being responsive. The CRITERIA to be applied in evaluating the proposal is set out in the table on the following page: The proposal will be evaluated individually on score sheets, by a representative evaluation panel according to the evaluation criteria indicated above. All Tenderers who scored less than 70 out of 100 points for functionality will not be considered further. NB: Points scored for functionality will not have an influence on the total Tender evaluation points except to determine whether the bidder goes through to pricing evaluation or not. Method 2 (i.e. financial offer and BBBEE) will be used to calculate the total Tender evaluation points |
| F.3.12 | Insurance provided by the Employer | Replace the contents of the clause with the following: “If requested by the Employer, the Tenderer shall submit for the employer’s information, the policies or certificates of insurance (or both) which the Conditions of Contract identified in the Contract Data required by the Contractor.” “The Employer will not take out any insurance for the works.” |
| F.3.13 | Acceptance of Tender Offer | A Tender Offer will only be accepted on condition that such acceptance is not prohibited in term of the Supply Chain Management Regulations |
| F.3.18 | Copies of Contract | One signed copy of Contract shall be provided by the Employer to the successful Tenderer. |

Municipal Website and Notice Boards

# STANDARD CONDITIONS OF TENDER

# PART T1.3: CIDB Standard Conditions of Tender

(July 2015 edition)

# As published in Annex F of the CIDB Standard for Uniformity in Construction Procurement in Board Notice 136 Government Gazette No 38960 of 10 July 2015

# F.1	General

F.1.1	Actions

F.1.1.1 	The employer and each tenderer submitting a tender offer shall comply with these conditions of tender. In their dealings with each other, they shall discharge their duties and obligations as set out in F.2 and F.3, timeously and with integrity, and behave equitably, honestly and transparently, comply with all legal obligations and not engage in anticompetitive practices.

F.1.1.2 	The employer and the tenderer and all their agents and employees involved in the tender process shall avoid conflicts of interest and where a conflict of interest is perceived or known, declare any such conflict of interest, indicating the nature of such conflict. Tenderers shall declare any potential conflict of interest in their tender submissions.  Employees, agents and advisors of the employer shall declare any conflict of interest to whoever is responsible for overseeing the procurement process at the start of any deliberations relating to the procurement process or as soon as they become aware of such conflict, and abstain from any decisions where such conflict exists or recuse themselves from the procurement process, as appropriate.

Note:	1)	A conflict of interest may arise due to a conflict of roles which might provide an incentive for improper acts in some circumstances. A conflict of interest can create an appearance of impropriety that can undermine confidence in the ability of that person to act properly in his or her position even if no improper acts result.

2)	Conflicts of interest in respect of those engaged in the procurement process include direct, indirect or family interests in the tender or outcome of the procurement process and any personal bias, inclination, obligation, allegiance or loyalty which would in any way affect any decisions taken.

F.1.1.3	The employer shall not seek and a tenderer shall not submit a tender without having a firm intention and the capacity to proceed with the contract.

# F.1.2	Tender Documents

The documents issued by the employer for the purpose of a tender offer are listed in the Tender data.

# F.1.3	Interpretation

# F.1.3.1	The tender data and additional requirements contained in the tender schedules that are included in the returnable documents are deemed to be part of these conditions of tender.

# F.1.3.2	These conditions of tender, the tender data and tender schedules which are only required for tender evaluation purposes, shall not form part of any contract arising from the invitation to tender.

F.1.3.3	For the purposes of these conditions of tender, the following definitions apply:

a)	conflict of interest means any situation in which:

i)	someone in a position of trust has competing professional or personal interests which make it difficult to fulfil his or her duties impartially;

ii)	an individual or organisation is in a position to exploit a professional or official capacity in some way for their personal or corporate benefit; or

iii)	incompatibility or contradictory interests exist between an employee and the organisation which employs that employee.

b)	comparative offer means the price after the factors of a non-firm price and all unconditional discounts it can be utilised to have been taken into consideration;

c)	corrupt practice means the offering, giving, receiving or soliciting of anything of value to influence the action of the employer or his staff or agents in the tender process;

d)	fraudulent practice means the misrepresentation of the facts in order to influence the tender process or the award of a contract arising from a tender offer to the detriment of the employer, including collusive practices intended to establish prices at artificial levels;

e)	organization means a company, firm, enterprise, association or other legal entity, whether incorporated or not, or a public body; and

f)	functionality means the measurement according to the predetermined norms of a service or commodity designed to be practical and useful, working or operating, taking into account quality, reliability, viability and durability of a service and technical capacity and ability of a tenderer.

# F.1.4	Cancellation and Re-Invitation of Tenders

Each communication between the employer and a tenderer shall be to or from the employer's agent only, and in a form that can be readily read, copied and recorded. Communications shall be in the English language. The employer shall not take any responsibility for non-receipt of communications from or by a tenderer. The name and contact details of the employer’s agent are stated in the tender data.

F.1.5	The employer’s right to accept or reject any tender offer

F.1.5.1	An organ of state may, prior to the award of the tender, cancel a tender if:

a)	due to changed circumstances, there is no longer a need for the services, works or goods requested; or

b)	funds are no longer available to cover the total envisaged expenditure; or (c) no acceptable tenders are received.

F1.5.2 	The decision to cancel a tender must be published in the CIDB website and in the government Tender Bulletin for the media in which the original tender invitation was advertised.

# F.1.6	Procurement procedures

# F.1.6.1	General

Unless otherwise stated in the tender data, a contract will, subject to F.3.13, be concluded with the tenderer who in terms of F.3.11 is the highest ranked or the tenderer scoring the highest number of tender evaluation points, as relevant, based on the tender submissions that are received at the closing time for tenders.

# F.1.6.2	Competitive negotiation procedure

F.1.6.2.1	Where the tender data require that the competitive negotiation procedure is to be followed, tenderers shall submit tender offers in response to the proposed contract in the first round of submissions. Notwithstanding the requirements of F.3.4, the employer shall announce only the names of the tenderers who make a submission. The requirements of F.3.8 relating to the material deviations or qualifications which affect the competitive position of tenderers shall not apply.

F.1.6.2.2	All responsive tenderers, or not less than three responsive tenderers that are highest ranked in terms of the evaluation method and evaluation criteria stated in the tender data, shall be invited in each round to enter into competitive negotiations, based on the principle of equal treatment and keeping confidential the proposed solutions and associated information. Notwithstanding the provisions of F.2.17, the employer may request that tenders be clarified, specified and fine-tuned in order to improve a tenderer’s competitive position provided that such clarification, specification, fine-tuning or additional information does not alter any fundamental aspects of the offers or impose substantial new requirements which restrict or distort competition or have a discriminatory effect.

F.1.6.2.3	At the conclusion of each round of negotiations, tenderers shall be invited by the employer to make a fresh tender offer, based on the same evaluation criteria, with or without adjusted weightings. Tenderers shall be advised when they are to submit their best and final offer.

F.1.6.2.4	The contract shall be awarded in accordance with the provisions of F.3.11 and F.3.13 after tenderers have been requested to submit their best and final offer.

# F.1.6.3	Proposal procedure using the two stage-system

# F.1.6.3.1	Option 1

# Tenderers shall in the first stage submit technical proposals and, if required, cost parameters around which a contract may be negotiated. The employer shall evaluate each responsive submission in terms of the method of evaluation stated in the tender data, and in the second stage negotiate a contract with the tenderer scoring the highest number of evaluation points and award the contract in terms of these conditions of tender.

# F.1.6.3.2	Option 2

F.1.6.3.2.1	Tenderers shall submit in the first stage only technical proposals. The employer shall invite all responsive tenderers to submit tender offers in the second stage, following the issuing of procurement documents.

F.1.6.3.2.2	The employer shall evaluate tenders received during the second stage in terms of the method of evaluation stated in the tender data, and award the contract in terms of these conditions of tender.

# F.2	Tenderer’s obligations

# F.2.1	Eligibility

F.2.1.1	Submit a tender offer only if the tenderer satisfies the criteria stated in the tender data and the tenderer, or any of his principals, is not under any restriction to do business with employer.

F.2.1.2	Notify the employer of any proposed material change in the capabilities or formation of the tendering entity (or both) or any other criteria which formed part of the qualifying requirements used by the employer as the basis in a prior process to invite the tenderer to submit a tender offer and obtain the employer’s written approval to do so prior to the closing time for tenders.

# F.2.2	Cost of tendering

F2.2.1	Accept that, unless otherwise stated in the tender data, the employer will not compensate the tenderer for any costs incurred in the preparation and submission of a tender offer, including the costs of any testing necessary to demonstrate that aspects of the offer comply with requirements.

F2.2.2	The cost of the tender documents charged by the employer shall be limited to the actual cost incurred by the employer for printing the documents. Employers must attempt to make available the tender documents on its website so as not to incur any costs pertaining to the printing of the tender documents.

F.2.3	Check documents

Check the tender documents on receipt for completeness and notify the employer of any discrepancy or omission.

F.2.4	Confidentiality and copyright of documents

Treat as confidential all matters arising in connection with the tender. Use and copy the documents issued by the employer only for the purpose of preparing and submitting a tender offer in response to the invitation.

F.2.5	Reference documents

Obtain, as necessary for submitting a tender offer, copies of the latest versions of standards, specifications, conditions of contract and other publications, which are not attached but which are incorporated into the tender documents by reference.

F.2.6	Acknowledge addenda

Acknowledge receipt of addenda to the tender documents, which the employer may issue, and if necessary apply for an extension to the closing time stated in the tender data, in order to take the addenda into account.

F.2.7	Clarification meeting

Attend, where required, a clarification meeting at which tenderers may familiarize themselves with aspects of the proposed work, services or supply and raise questions. Details of the meeting(s) are stated in the tender data.

F.2.8	Seek clarification

Request clarification of the tender documents, if necessary, by notifying the employer at least five working days before the closing time stated in the tender data.

F.2.9	Insurance

Be aware that the extent of insurance to be provided by the employer (if any) might not be for the full cover required in terms of the conditions of contract identified in the contract data. The tenderer is advised to seek qualified advice regarding insurance.

# F.2.10	Pricing the tender offer

F.2.10.1	Include in the rates, prices, and the tendered total of the prices (if any) all duties, taxes (except Value Added Tax (VAT), and other levies payable by the successful tenderer, such duties, taxes and levies being those applicable 14 days before the closing time stated in the tender data.

F2.10.2	Show VAT payable by the employer separately as an addition to the tendered total of the prices.

F.2.10.3	Provide rates and prices that are fixed for the duration of the contract and not subject to adjustment except as provided for in the conditions of contract identified in the contract data.

F.2.10.4	State the rates and prices in Rand unless instructed otherwise in the tender data. The conditions of contract identified in the contract data may provide for part payment in other currencies

F.2.11	Alterations to documents

# Do not make any alterations or additions to the tender documents, except to comply with instructions issued by the employer, or necessary to correct errors made by the tenderer. All signatories to the tender offer shall initial all such alterations.

# F.2.12	Alternative tender offers

F.2.12.1	Unless otherwise stated in the tender data, submit alternative tender offers only if a main tender offer, strictly in accordance with all the requirements of the tender documents, is also submitted as well as a schedule that compares the requirements of the tender documents with the alternative requirements that are proposed.

F.2.12.2	Accept that an alternative tender offer may be based only on the criteria stated in the tender data or criteria otherwise acceptable to the employer.

F.2.12.3	An alternative tender offer may only be considered in the event that the main tender offer is the winning tender.

# F.2.13	Submitting a tender offer

F.2.13.1	Submit one tender offer only, either as a single tendering entity or as a member in a joint venture to provide the whole of the works, services or supply identified in the contract data and described in the scope of works, unless stated otherwise in the tender data.

F.2.13.2	Return all returnable documents to the employer after completing them in their entirety, either electronically (if they were issued in electronic format) or by writing legibly in non-erasable ink.

F.2.13.3	Submit the parts of the tender offer communicated on paper as an original plus the number of copies stated in the tender data, with an English translation of any documentation in a language other than English, and the parts communicated electronically in the same format as they were issued by the employer.

F.2.13.4	Sign the original and all copies of the tender offer where required in terms of the tender data. The employer will hold all authorized signatories liable on behalf of the tenderer. Signatories for tenderers proposing to contract as joint ventures shall state which of the signatories is the lead partner whom the employer shall hold liable for the purpose of the tender offer.

F.2.13.5	Seal the original and each copy of the tender offer as separate packages marking the packages as "ORIGINAL" and "COPY". Each package shall state on the outside the employer's address and identification details stated in the tender data, as well as the tenderer's name and contact address.

F.2.13.6	Where a two-envelope system is required in terms of the tender data, place and seal the returnable documents listed in the tender data in an envelope marked “financial proposal” and place the remaining returnable documents in an envelope marked “technical proposal”. Each envelope shall state on the outside the employer’s address and identification details stated in the tender data, as well as the tenderer's name and contact address.

F.2.13.7	Seal the original tender offer and copy packages together in an outer package that states on the outside only the employer's address and identification details as stated in the tender data.

F.2.13.8	Accept that the employer will not assume any responsibility for the misplacement or premature opening of the tender offer if the outer package is not sealed and marked as stated.

F.2.13.9	Accept that tender offers submitted by facsimile or e-mail will be rejected by the employer, unless stated otherwise in the tender data.

# F.2.14	Information and data to be completed in all respects

# Accept that tender offers, which do not provide all the data or information requested completely and in the form required, may be regarded by the employer as non-responsive.

# F.2.15	Closing time

F.2.15.1	Ensure that the employer receives the tender offer at the address specified in the tender data not later than the closing time stated in the tender data. Accept that proof of posting shall not be accepted as proof of delivery.

F.2.15.2	Accept that, if the employer extends the closing time stated in the tender data for any reason, the requirements of these conditions of tender apply equally to the extended deadline.

# F.2.16	Tender offer validity

F.2.16.1	Hold the tender offer(s) valid for acceptance by the employer at any time during the validity period stated in the tender data after the closing time stated in the tender data.

F.2.16.2	If requested by the employer, consider extending the validity period stated in the tender data for an agreed additional period with or without any conditions attached to such extension.

F.2.16.3	Accept that a tender submission that has been submitted to the employer may only be withdrawn or substituted by giving the employer’s agent written notice before the closing time for tenders that a tender is to be withdrawn or substituted.

F.2.16.4	Where a tender submission is to be substituted, submit a substitute tender in accordance with the requirements of F.2.13 with the packages clearly marked as “SUBSTITUTE”.

# F.2.17	Clarification of tender offer after submission

Provide clarification of a tender offer in response to a request to do so from the employer during the evaluation of tender offers. This may include providing a breakdown of rates or prices and correction of arithmetical errors by the adjustment of certain rates or item prices (or both). No change in the competitive position of tenderers or substance of the tender offer is sought, offered, or permitted.

Note:	Sub-clause F.2.17 does not preclude the negotiation of the final terms of the contract with a preferred tenderer following a competitive selection process, should the Employer elect to do so.

# F.2.18	Provide other material

F.2.18.1	Provide, on request by the employer, any other material that has a bearing on the tender offer, the tenderer’s commercial position (including notarized joint venture agreements), preferencing arrangements, or samples of materials, considered necessary by the employer for the purpose of a full and fair risk assessment. Should the tenderer not provide the material, or a satisfactory reason as to why it cannot be provided, by the time for submission stated in the employer’s request, the employer may regard the tender offer as non-responsive.

F.2.18.2	Dispose of samples of materials provided for evaluation by the employer, where required.

F.2.19	Inspections, tests and analysis

Provide access during working hours to premises for inspections, tests and analysis as provided for in the tender data.

F.2.20	Submit securities, bonds, policies

If requested, submit for the employer’s acceptance before formation of the contract, all securities, bonds, guarantees, policies and certificates of insurance required in terms of the conditions of contract identified in the contract data.

F.2.21	Check final draft

Check the final draft of the contract provided by the employer within the time available for the employer to issue the contract.

# F.2.22	Return of other tender documents

# If so instructed by the employer, return all retained tender documents within 28 days after the expiry of the validity period stated in the tender data.

# F.2.23	Certificates

# Include in the tender submission or provide the employer with any certificates as stated in the tender data.

# F.3	The employer’s undertakings

# F.3.1	Respond to requests from the tenderer

F.3.1.1	Unless otherwise stated in the tender Data, respond to a request for clarification received up to five working days before the tender closing time stated in the Tender Data and notify all tenderers who drew procurement documents.

F.3.1.2	Consider any request to make a material change in the capabilities or formation of the tendering entity (or both) or any other criteria which formed part of the qualifying requirements used to prequalify a tenderer to submit a tender offer in terms of a previous procurement process and deny any such request if as a consequence:

a)	an individual firm, or a joint venture as a whole, or any individual member of the joint venture fails to meet any of the collective or individual qualifying requirements;

b)	the new partners to a joint venture were not prequalified in the first instance, either as individual firms or as another joint venture; or

c)	in the opinion of the Employer, acceptance of the material change would compromise the outcome of the prequalification process.

# F.3.2	Issue Addenda

# If necessary, issue addenda that may amend or amplify the tender documents to each tenderer during the period from the date that tender documents are available until three days before the tender closing time stated in the Tender Data. If, as a result a tenderer applies for an extension to the closing time stated in the Tender Data, the Employer may grant such extension and, shall then notify all tenderers who drew documents.

# F.3.3	Return late tender offers

# Return tender offers received after the closing time stated in the Tender Data, unopened, (unless it is necessary to open a tender submission to obtain a forwarding address), to the tenderer concerned.

# F.3.4	Opening of tender submissions

F.3.4.1	Unless the two-envelope system is to be followed, open valid tender submissions in the presence of tenderers’ agents who choose to attend at the time and place stated in the tender data. Tender submissions for which acceptable reasons for withdrawal have been submitted will not be opened.

F.3.4.2	Announce at the meeting held immediately after the opening of tender submissions, at a venue indicated in the tender data, the name of each tenderer whose tender offer is opened and, where applicable, the total of his prices, number of points claimed for its BBBEE status level and time for completion for the main tender offer only.

F.3.4.3	Make available the record outlined in F.3.4.2 to all interested persons upon request.

# F.3.5	Two-envelope system

F.3.5.1	Where stated in the tender data that a two-envelope system is to be followed, open only the technical proposal of valid tenders in the presence of tenderers’ agents who choose to attend at the time and place stated in the tender data and announce the name of each tenderer whose technical proposal is opened.

F.3.5.2	Evaluate functionality of the technical proposals offered by tenderers, then advise tenderers who remain in contention for the award of the contract of the time and place when the financial proposals will be opened. Open only the financial proposals of tenderers, who score in the functionality evaluation more than the minimum number of points for functionality stated in the tender data, and announce the score obtained for the technical proposals and the total price and any points claimed on BBBEE status level. Return unopened financial proposals to tenderers whose technical proposals failed to achieve the minimum number of points for functionality.

# F.3.6	Non-disclosure

# Not disclose to tenderers, or to any other person not officially concerned with such processes, information relating to the evaluation and comparison of tender offers, the final evaluation price and recommendations for the award of a contract, until after the award of the contract to the successful tenderer.

# F.3.7	Grounds for rejection and disqualification

# Determine whether there has been any effort by a tenderer to influence the processing of tender offers and instantly disqualify a tenderer (and his tender offer) if it is established that he engaged in corrupt or fraudulent practices.

# F.3.8	Test for responsiveness

F.3.8.1	Determine, after opening and before detailed evaluation, whether each tender offer properly received:

a)	complies with the requirements of these Conditions of Tender,

b)	has been properly and fully completed and signed, and

c)	is responsive to the other requirements of the tender documents.

F.3.8.2	A responsive tender is one that conforms to all the terms, conditions, and specifications of the tender documents without material deviation or qualification. A material deviation or qualification is one which, in the Employer's opinion, would:

a)	detrimentally affect the scope, quality, or performance of the works, services or supply identified in the Scope of Work,

b)	significantly change the Employer's or the tenderer's risks and responsibilities under the contract, or

c)	affect the competitive position of other tenderers presenting responsive tenders, if it were to be rectified

# Reject a non-responsive tender offer, and not allow it to be subsequently made responsive by correction or withdrawal of the non-conforming deviation or reservation.

# F.3.9	Arithmetical errors, omissions and discrepancies

F.3.9.1	Check the highest ranked tender or tenderer with the highest number of tender evaluation points after the evaluation of tender offers in accordance with F.3.11 for:

a)	the gross misplacement of the decimal point in any unit rate;

b)	omissions made in completing the pricing schedule or bills of quantities; or

c)	arithmetic errors in:

i)	line item totals resulting from the product of a unit rate and a quantity in bills of quantities or schedules of prices; or

ii)	the summation of the prices.

F.3.9.2	The employer must correct the arithmetical errors in the following manner:

a)	Where there is a discrepancy between the amounts in words and amounts in figures, the amount in words shall govern.

b)	If bills of quantities or pricing schedules apply and there is an error in the line item total resulting from the product of the unit rate and the quantity, the line item total shall govern and the rate shall be corrected. Where there is an obviously gross misplacement of the decimal point in the unit rate, the line item total as quoted shall govern, and the unit rate shall be corrected.

c)	Where there is an error in the total of the prices either as a result of other corrections required by this checking process or in the tenderer's addition of prices, the total of the prices shall govern and the tenderer will be asked to revise selected item prices (and their rates if bills of quantities apply) to achieve the tendered total of the prices.

# Consider the rejection of a tender offer if the tenderer does not correct or accept the correction of the arithmetical error in the manner described above.

# F.3.10 	Clarification of a tender offer

# Obtain clarification from a tenderer on any matter that could give rise to ambiguity in a contract arising from the tender offer.

# F.3.11 	Evaluation of tender offers

# F.3.11.1 	General

# Appoint an evaluation panel of not less than three persons. Reduce each responsive tender offer to a comparative offer and evaluate them using the tender evaluation methods and associated evaluation criteria and weightings that are specified in the tender data.

# F.3.11.2	Method 1: Price and Preference

In the case of a price and preference:

a)	Score tender evaluation points for price

b)	Score points for BBBEE contribution

c)	Add the points scored for price and BBBEE.

# F.3.11.3	Methods 2: Functionality, Price and Preference

In the case of a functionality, price and preference:

1)	Score functionality, rejecting all tender offers that fail to achieve the minimum number of points for functionality as stated in the Tender Data.

2)	No tender must be regarded as an acceptable tender if it fails to achieve the minimum qualifying score for functionality as indicated in the tender invitation.

3)	Tenders that have achieved the minimum qualification score for functionality must be evaluated further in terms of the preference points system prescribed in paragraphs 4 and 4 and 5 below.

# 80/20 system for requirements with a Rand value equal to or above R 30 000 and up to R 50 million (all applicable taxes included);

4)(a)(i)	The following formula must be used to calculate the points for price in respect of tenders (including price quotation) with a rand value equal to, or above R 30 000 and up to Rand value of R 1 000 000 ( all applicable taxes included):

Where

Ps	=	Points scored for price of tender under consideration;

Pt	=	Price of tender under consideration; and

Pmin	=	Price of lowest acceptable tender.

4)(a)(ii)	An employer of state may apply the formula in paragraph (i) for price quotations with a value less than R30 000, if and when appropriate:

4)(b)	Subject to subparagraph(4)(c), points must be awarded to a tender for attaining the B-BBEE status level of contributor in accordance with the table below:

| B-BBEE Status Level of Contributor | Number of points |
| --- | --- |
| 1 | 20 |
| 2 | 18 |
| 3 | 14 |
| 4 | 12 |
| 5 | 8 |
| 6 | 6 |
| 7 | 4 |
| 8 | 2 |
| Non-compliant contributor | 0 |

4)(c)	A maximum of 20 points may be allocated in accordance with subparagraph (4)(b).

4)(d)	The points scored by tender in respect of B-BBEE contribution contemplated in contemplated in subparagraph (4) (b) must be added to the points scored for price as calculated in accordance with subparagraph (4)(a).

4)(e)	Subject to paragraph 4.3.8 the contract must be awarded to the tender who scores the highest total number of points.

# 90/10 system for requirements with a Rand value above R 50 million (all applicable taxes included).

5)(a)	The following formula must be used to calculate the points for price in respect of tenders with a Rand value above R1 000 000 (all applicable taxes included):

Where

Ps	=	Points scored for price of tender under consideration;

Pt	=	Price of tender under consideration; and

Pmin	=	Price of lowest acceptable tender.

5)(b)	Subject to subparagraph(5)(c), points must be awarded to a tender for attaining the BBBEE status level of contributor in accordance with the table below:

| B-BBEE Status Level of Contributor | Number of points |
| --- | --- |
| 1 | 10 |
| 2 | 9 |
| 3 | 6 |
| 4 | 5 |
| 5 | 4 |
| 6 | 3 |
| 7 | 2 |
| 8 | 1 |
| Non-compliant contributor | 0 |

5)(c)	A maximum of 10 points may be allocated in accordance with subparagraph (5)(b).

5)(d)	The points scored by tender in respect of B-BBEE contribution contemplated in contemplated in subparagraph (5) (b) must be added to the points scored for price as calculated in accordance with subparagraph (5)(a).

5)(e)	Subject to paragraph 4.3.8 the contract must be awarded to the tender who scores the highest total number of points.

# F.3.11.6	Decimal places

# Score price, preference and functionality, as relevant, to two decimal places.

# F.3.11.7	Scoring Price

Score price of remaining responsive tender offers using the following formula:

NFO            = W1 x A

Where		NFO is the number of tender evaluation points awarded for price.

W1 is the maximum possible number of tender evaluation points awarded for price as stated in the Tender Data.

A is a number calculated using the formula and option described in Table F.1 as stated in the Tender Data.

Table F.1: Formulae for calculating the value of A

| Formula | Comparison aimed at achieving | Option 1a | Option 2 a |
| --- | --- | --- | --- |
| 1 | Highest price or discount | A = (1 +( P - Pm)) Pm | A = P / Pm |
| 2 | Lowest price or percentage commission / fee | A = (1 - (P - Pm)) Pm | A = Pm / P |
| a Pm is the comparative offer of the most favourable comparative offer. P is the comparative offer of the tender offer under consideration. |  |  |  |

# F.3.11.8	Scoring preferences

# Confirm that tenderers are eligible for the preferences claimed in accordance with the provisions of the tender data and reject all claims for preferences where tenderers are not eligible for such preferences.

# Calculate the total number of tender evaluation points for preferences claimed in accordance with the provisions of the tender data.

# F.3.11.9	Scoring functionality

Score each of the criteria and subcriteria for quality in accordance with the provisions of the Tender Data.

Calculate the total number of tender evaluation points for quality using the following formula:

NQ = W2 x SO / MS

where:		SO is the score for quality allocated to the submission under consideration;

MS is the maximum possible score for quality in respect of a submission; and

W2 is the maximum possible number of tender evaluation points awarded for the quality as stated in the tender data.

# F.3.12 	Insurance provided by the employer

# If requested by the proposed successful tenderer, submit for the tenderer's information the policies and / or certificates of insurance which the conditions of contract identified in the contract data, require the employer to provide.

# F.3.13 	Acceptance of tender offer

Accept the tender offer, if in the opinion of the employer, it does not present any risk and only if the tenderer:

a)	is not under restrictions, or has principals who are under restrictions, preventing participating in the employer’s procurement,

b)	can, as necessary and in relation to the proposed contract, demonstrate that he or she possesses the professional and technical qualifications, professional and technical competence, financial resources, equipment and other physical facilities, managerial capability, reliability, experience and reputation, expertise and the personnel, to perform the contract,

c)	has the legal capacity to enter into the contract,

d)	is not insolvent, in receivership, under Business Rescue as provided for in chapter 6 of the Companies Act, 2008, bankrupt or being wound up, has his affairs administered by a court or a judicial officer, has suspended his business activities, or is subject to legal proceedings in respect of any of the foregoing,

e)	complies with the legal requirements, if any, stated in the tender data, and

f)	is able, in the opinion of the employer, to perform the contract free of conflicts of interest.

# F.3.14 	Prepare contract documents

F.3.14.1	If necessary, revise documents that shall form part of the contract and that were issued by the employer as part of the tender documents to take account of:

a)	addenda issued during the tender period,

b)	inclusion of some of the returnable documents, and

c)	other revisions agreed between the employer and the successful tenderer.

F.3.14.2	Complete the schedule of deviations attached to the form of offer and acceptance, if any.

# F.3.15 	Complete adjudicator's contract

# Unless alternative arrangements have been agreed or otherwise provided for in the contract, arrange for both parties to complete formalities for appointing the selected adjudicator at the same time as the main contract is signed.

# F.3.16 	Notice to unsuccessful tenderers

F.3.16.1	Notify the successful tenderer of the employer's acceptance of his tender offer by completing and returning one copy of the form of offer and acceptance before the expiry of the validity period stated in the tender data, or agreed additional period.

F.3.16.2	After the successful tenderer has been notified of the employer’s acceptance of the tender, notify other tenderers that their tender offers have not been accepted.

# F.3.17	Provide copies of the contracts

# Provide to the successful tenderer the number of copies stated in the Tender Data of the signed copy of the contract as soon as possible after completion and signing of the form of offer and acceptance.

# F.3.18 	Provide written reasons for actions taken

Provide upon request written reasons to tenderers for any action that is taken in applying these conditions of tender, but withhold information which is not in the public interest to be divulged, which is considered to prejudice the legitimate commercial interests of tenderers or might prejudice fair competition between tenderers.

# F.3.19 	Transparency in the procurement process

F.3.19.1	The CIDB prescripts require that tenders must be advertised and be registered on the CIDB Tender system.

F.3.19.2	The employer must adopt a transparency model that incorporates the disclosure and accountability as transparency requirements in the procurement process.

F.3.19.3	The transparency model must identify the criteria for selection of projects, project information template and the threshold value of the projects to be disclosed in the public domain at various intervals of delivery of infrastructure projects.

F.3.19.4	The client must publish the information on a quarterly basis which contains the following information:

- Procurement planning process

- Procurement method and evaluation process

- Contract type

- Contract status

- Number of firms tendering

- Cost estimate

- Contract title

- Contract firm(s)

- Contract price

- Contract scope of work

- Contract start date and duration

- Contract evaluation reports

F.3.19.5	The employer must establish a Consultative Forum which will conduct a random audit in the implementation of the transparency requirements in the procurement process.

F.3.19.6	Consultative Forum must be an independent structure from the bid committees

F.3.19.7	The information must be published on the employer’s website.

F.3.19.8	Records of such disclosed information must be retained for audit purposes.

PART T2

RETURNABLE DOCUMENTS

T2.1 	MANDATORY DOCUMENTS

THE TENDERER MUST SUBMIT THE FOLLOWING DOCUMENTS WITH THIS TENDER.  IF THE DOCUMENTS ARE NOT INCLUDED IN THE TENDER DOCUMENT, THE TENDER WILL BE REGARDED AS BEING NON-RESPONSIVE (MANDATORY REQUIREMENTS).

| Item No. | Document |
| --- | --- |
| 2.1 | A valid CIDB grading certificate of “CE/GB” (Minimum of Grade 1) is required |
| 2.2 | An original tax clearance certificate issued by SARS must accompany all quotations OR a tax reference number and PIN or TCC number must be provided. |
| 2.3 | A certified copy of the proof of B – BBEE status level contributor (Certificate or Affidavit) |
| 2.4 | Company Profile and Registration Certificate. |
| 2.5 | Latest Municipal Billing Clearance Certificate, which covers both the company and its directors |
| 2.6 | Evidence of registration of company on the Central Supplier Database must be provided (CSD “MAAA” number). |
| 2.7 | At least one (1) reference letters from client/s to whom a plumbing service was delivered to, indicating the following: (a) The Client’s name, physical address and contact details. (b) Contract Number and Project Scope of work (c) Project Value |
| 2.8 | A certified plumbing certificate from an accredited institution for the supervisor on site |
| 2.9 | Proof of address by means of a Municipal water or electricity bill. |

PART C1: AGREEMENTS AND CONTRACT DATA

C1.1	FORM OF OFFER AND ACCEPTANCE

IMPORTANT NOTE:

All Tenderers must complete and sign

FORM A: OFFER (the first page hereinafter).

FORM B: ACCEPTANCE will be signed by the Employer and then only in the case of the successful Tenderer.

FORM C: SCHEDULE OF DEVIATIONS must be signed by the Employer as well as the successful Tenderer after award of the Contract.

FORM D: CONFIRMATION OF RECEIPT must be signed by the successful Tenderer after receipt of one fully completed original copy of this Agreement.

A Tender in which FORM A: OFFER has not been completed and signed by the Tenderer, will not be valid and will be disqualified at the discretion of the Employer.

FORM A: FORM OF OFFER

FORM OF OFFER AND ACCEPTANCE

(AGREEMENT)

The Employer, identified in the Acceptance signature block, has solicited offers to enter into a Contract in respect of the following works:

CONTRACT NO.: ……………………………….: RETROFITTING AND PLUMBING IN OKO 1020 TRADING.

The Tenderer, identified in the Offer signature block below, has examined the documents listed in the Tender Data and addenda thereto as listed in the Tender Schedules, and by submitting this Offer has accepted the Conditions of Tender.

By the representative of the Tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance, the Tenderer offers to perform all of the obligations and liabilities of the Contractor under the Contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the Conditions of Contract identified in the Contract Data.

THE OFFERED TOTAL OF THE PRICES INCLUSIVE OF 15% VALUE ADDED TAX IS

Rand (in words);

R                                                                                					(in figures),

(Should there be a discrepancy between the amount in words and the amount in figures then the amount in figures will be applicable and considered.)

This Offer may be accepted by the Employer by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document to the Tenderer before the end of the period of validity stated in the Tender Data, whereupon the Tenderer becomes the party named as the Contractor in the Conditions of Contract identified in the Contract Data.

FOR THE TENDERER:

Signature(s)	………………………………………………………………………………………...

Name(s)	………………………………………………………………………………………..

Capacity	………………………………………………………………………………………..

Name of Tenderer	……………………………………………………………………………………….

Address:  	………………………………………………………………………….

………………………………………………………………………….

..…………………………………………………………………….….

Telephone: ………………………………. Fax Number …………………………

CIDB Registration Number of Tenderer: …………………………………………………………………

WITNESS 1:

Signature(s)	………………………………………………………………………………………...

Name(s)	………………………………………………………………………………………..

Date	………………………………………………………………………………………..

WITNESS 2:

Signature(s)	………………………………………………………………………………………...

Name(s)	………………………………………………………………………………………..

Date	………………………………………………………………………………………..

(Failure of a Tenderer to sign this part of the Form of Offer and Acceptance will invalidate the Tender.)

FORM B: ACCEPTANCE

C1.1.2	FORM OF ACCEPTANCE

By signing this part of this Form of Offer and Acceptance, the Employer accepts the Tenderer’s Offer. In consideration thereof, the Employer shall pay the Contractor the amount due in accordance with the Conditions of Contract identified in the Contract Data. Acceptance of the Tenderer’s Offer shall form an agreement between the Employer and the Tenderer upon the terms and conditions contained in this agreement and in the Contract that is the subject of this agreement.

The terms of the Contract are contained in Volume 3 which contains the Tender notice, Conditions of Tender, Tender Data, Returnable Schedules, general and particular conditions of Contract, project specifications, Pricing Schedule, Form of offer and Site Information.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto, as listed in the Tender Schedules, as well as any changes to the terms of the Offer agreed by the Tenderer and the Employer during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Agreement. No amendments to or deviations from said documents are valid unless contained in this schedule, which shall be signed by the authorized representative(s) of both parties.

Notwithstanding anything contained herein, this Agreement comes into effect on the date when the Tenderer receives one fully completed original copy of this document, including the Schedule of Deviations (if any). Unless the Tenderer (now Contractor), within 5 days of the date of such receipt, notifies the Employer in writing of any reason why he cannot accept the contents of this Agreement, this Agreement shall constitute a binding Contract between the parties.

Signature	………………………………	Date		……………….………….……

Name	……………………………..	Capacity	……………………………….

For the Employer

(Name and address of organization) ……………………..……………………………………………

AS WITNESSES

Witness 1

Signature	………………………………		Date	………………………….……

Name	………………………………

Witness 2

Signature	………………………………		Date	………………………………..

Name	……………………………..

FORM C: SCHEDULE OF DEVIATIONS

C1.1.3	SCHEDULE OF DEVIATIONS

Notes:

1.	The extent of deviations from the Tender documents issued by the employer before the Tender closing date is limited to those permitted in terms of the conditions of Tender.

2.	A Tenderer's covering letter shall not be included in the final Contract document. Should any matter in such letter, which constitutes a deviation as aforesaid, become the subject of agreements reached during the process of offer and acceptance, the outcome of such agreement shall be recorded here.

3.	 	Any other matter arising from the process of offer and acceptance either as a confirmation, clarification or change to the Tender documents and which it is agreed by the Parties becomes an obligation of the Contract shall also be recorded here.

4.	Any change or addition to the Tender documents, arising from the above agreements and recorded here, shall also be incorporated into the final draft of the Contract.

1	Subject

Details

2	Subject

Details

3	Subject

Details

4	Subject

Details

By the duly authorised representatives signing this agreement, the Employer and the Tenderer agree to and accept the foregoing schedule of deviations as the only deviations from and amendments to the documents listed in the Tender data and addenda thereto as listed in the Tender schedules, as well as any confirmation, clarification or changes to the terms of the offer agreed by the Tenderer and the employer during this process of offer and acceptance.

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the Tender documents and the receipt by the Tenderer of a completed signed copy of this Agreement shall have any meaning or effect in the Contract between the parties arising from this agreement.

For the Tenderer:

Signature(s)

Name(s)

Capacity

(Name and

address of

organization/

Tenderer)

Name and

signature

of witness			Date

For the Employer:

Signature(s)

Name(s)

Capacity

(Name and

address of

organization)

Name and

signature

of witness			Date

FORM D: CONFIRMATION OF RECEIPT

This form must be signed by the successful Tenderer after receipt of one fully completed original copy of this Agreement.

The Tenderer hereby acknowledges receipt of one fully completed original copy of this Agreement.

For the Tenderer:

Signature(s)

Name(s)

Capacity

(Name and

address of

organization/

Tenderer)

Name and

signature

of witness			Date

C1.2	CONTRACT DATA FOR CONTRACT No: …………………………………..:

RETROFITTING OF EXISTING INLINE VALVE CHAMBERS AND HYDROSTATIC PRESSURE TESTING OF DN300 PIPELINE FROM ALEXANDRIA TRANSFER PUMP STATION TO ALEXANDRIA RESERVOIR.

C1.2.1	PART 1: DATA PROVIDED BY THE EMPLOYER

CONDITIONS OF CONTRACT

The General Conditions of Contract for Construction Works, Second Edition, 2015, published by the South African Institution of Civil Engineering Private Bag X200, Halfway House, 1685, is applicable to this Contract and is obtained from www.saice.org.za.

The pro-formas bound with the General Conditions of Contract for Construction Works, Second Edition, 2015, shall not apply to this Contract and shall be replaced with the documentation bound into this document.

The General Conditions of Contract for Construction Works make several references to the Contract Data for specific data, which together with these conditions collectively describe the risks, liabilities and obligations of the Contracting parties and the procedures for the administration of the Contract. The Contract Data shall have precedence in the interpretation of any ambiguity or inconsistency between it and the General Conditions of Contract.

The General Conditions of Contract shall be read in conjunction with the variations, amendments and additions set out in the Contract Specific Data below. Each item of data given below is cross-referenced to the clause in the General Conditions of Contract to which it mainly applies.

Where reference is made to the standard specifications in this Contract, it shall mean the SANS/ SABS 1200 SERIES complete with any corrections and amendments applicable at the time of Tendering.  Amendments to the standard specifications are bound in the Contract documents in Part C3: Section B: Project Specifications.

The SANS/ SABS 1200 SERIES documents, may be obtained / purchased from the South African Institution of Civil Engineering (SAICE), Private Bag X200, Halfway House 1685, Tel: (011) 805 5947, Fax: (011) 805 5971, e-mail: civilinfo@saice.org.za.

This SANS/ SABS 1200 SERIES documents may also be inspected, by appointment, at the offices of the Employer and the Consulting Engineer’s during normal office hours.

CONTRACT SPECIFIC DATA

The following Contract specific data, referring to the General Conditions of Contract for Construction Works, Second Edition, 2015, are applicable to this Contract:

Clause 1.1: Definitions

Add to Clause 1.1 - Definitions, Interpretations and General Provisions – the following:

“The terms Client, Principal Contractor and Designer, as used in the Occupational Health and Safety Act - Construction Regulations are synonymous with the terms Employer, Contractor and Engineer as defined in this Clause 1.1 of the GCC.”

Clause 1.1.1.13:

The Defects Liability Period is 6 months.

Clause 1.1.1.14:

The time for achieving Practical Completion is SIX (6) months, including all special non-working days and the year-end breaks as determined by SAFCEC.

Clause 1.1.1.15:

The name of the Employer is OKO 1020 TRADING, represented by the Municipal Manager and/or such other person or persons duly authorized thereto by the Employer in writing.

Clause 1.1.1.26:

The Pricing Strategy is a Re-measurement Contract

Clause 1.2.1.2:

The Employer’s address for receipt of communications and notices is:

Ms P. Hlaba 063 444 8160 or ohlaba@gmail.com

Clause 2.4.1:

Add the following:

“In the event of any ambiguity, conflict or discrepancy between the various Contract documents, lists and schedules, the order of precedence (from highest to lowest) shall be as follows:

- The Forms of Offer and Acceptance

- Contract Forms

- The Contract Data

- General Conditions of Contract (GCC 2015)

- Scope of the Work

- Site Information

- Bill of Quantities

- The Returnable Schedules

Clause 4.3.3:

Add the following new subclause:

“The Employer and the Contractor hereby agree, in terms of the provisions of section 37 (2) of the Occupational Health & Safety Act, 1993 (Act 85 of 1993, hereinafter referred to as ‘the Act’) that the following arrangements and procedures shall apply between them to ensure compliance by the Contractor with the provisions of the Act, namely:

- The Contractor undertakes that the appropriate officials and employees of the Contractor will fully acquaint themselves with all relevant provisions of the Act and the Regulations promulgated in terms of the Act;

- The Contractor undertakes that all relevant duties, obligations and prohibitions imposed in terms of the Act and regulations will be fully complied with;

- The Contractor hereby accepts sole liability for such due compliance with the relevant duties, obligations and prohibitions imposed by the Act and Regulations, and expressly absolves the Employer from itself being obliged to comply with any of the aforesaid duties, obligations, and prohibitions; with the exception of such duties, obligations and prohibitions expressly assigned to the Employer in terms of the Act and its associated Regulations.

(d)	The Contractor agrees that any duly authorised official of the Employer shall be entitled to take such steps as may be necessary to ensure that the Contractor has complied with his undertakings as set out more fully in paragraphs (a) and (b) above, which steps may include, but will not be limited to, the right to inspect any appropriate site or premises occupied by the Contractor, or to inspect any appropriate records or Safety Plans held by the Contractor;

(e)	The Contractor shall be obliged to report forthwith to the Employer any investigation, complaint or criminal charge which may arise as a consequence of the provisions of the Act and regulations, pursuant to work performed in terms of this Contract, and shall, on written demand, provide full details in writing of such investigation, complaint or criminal charge.

(f)	The Contractor shall furthermore, in compliance with the Construction Regulations of 2003 (Notice No. R1014, dated 18 July 2003) to the Act:

(i)	Acquaint himself with the requirements of the Employer’s health and safety Specification as laid down in regulation 4(1)(a) of the Construction Regulation of 2003 and prepare a suitably and sufficiently documented health and safety plan as contemplated in regulation 5(1) of the Construction Regulation of 2003 for approval by the Employer or his assigned agent. The Contractor’s health and safety plan and risk assessment including all the relevant COVID19 regulations shall be submitted to the employer for approval within 14 days from the date of the Letter of Acceptance and shall be implemented and maintained from the Commencement of the Works.

(ii)	The Employer, or his assigned representatives, reserves the right to conduct periodic audits, as contemplated in the Construction Regulations 2003, to monitor that the Contractor is compliant in respect of his obligations. Failure by the Contractor to comply with requirements of these Regulations shall entitle the Employer or his Agent, to suspend all or any part of the Works, with no recourse whatsoever by the Contractor for any damages incurred as a result of such suspension, such time as the Employer or his Agents are satisfied that the issues in which the Contractor has been in default have been rectified.”

Clause 4.4.3:

Add the following:

1	All specialists’ merchants, tradesmen and others executing any work or supplying any goods for which provisional or prime cost sums are provided in the Schedule of Quantities and who are selected for this purpose by the Contractor and the Employer as specified hereafter, shall in the execution of such work be Sub Contractors of the Contractor and are herein referred to as “Selected Sub Contractors”.

2	The Contractual relationship between the Contractor and the selected sub Contractor shall be the same as those which normally apply between Contractors and ordinary Sub Contractors as specified inter alia in clause 3 hereafter.

3		Unless another procedure is specified in the Special Conditions of Contract, the procurement of Selected Sub Contractors by the Contractor is to be carried out using the legislated Standard Conditions of Tender (as published and amended from time to time by the Construction Industry Development Board).

It is intended that the Sub Contract Agreement and Provisions of Sub Contract Third Edition (2003) Incorporating General Conditions of Sub Contract 2003 for use in accordance with Sub Contractors Works of Civil Engineering Construction as provided by the South African Federation of Civil Engineering Contractors be used as the basis of the Sub Contract between the Contractor and each selected Sub Contractor

The Contractor shall incorporate in the Sub Contract provisions that:

(a) 	In respect of the work of the goods that are subject of the Sub Contract the Selected Sub Contractor undertakes to the Contractor mutatis mutandis the obligations and liabilities as are imposed upon the Contractor to the Employer in terms of the Contract, and hold the Contractor harmless from and indemnifies him against the same and in respect of all claims, demands, lawsuits, damages, costs, charges and expenses whatsoever arising out of or in connection therewith, or arising out or in connection with any failure to perform such obligations or to fulfil such liabilities, and

(b)	the Selected Sub Contractors hold the Contractor harmless from and indemnifies him against:

(i)	shortcomings in the Sub Contract works if and where the works were designed by the Selected Sub Contractor;

(ii) 	defects in the goods if and where the goods were manufactured and/or supplied by the Selected Sub Contractor;

(iii)	any negligence by the Selected Sub Contractor; his agents, workmen and servants:

(iv)	any misuse by the Selected Sub Contractor of any Construction Plant, Temporary Works or materials provided by the Contractor for the purposes of the Contract; and

(v)	any claims as aforesaid

(c)		entitles him to pay direct to local and other labourers all payments the selected Sub Contractor has failed to make to any local and other labourers and to deduct, by way of settlement, the amounts paid by the Contractor from money owing to or that may become owing to selected Sub Contractor.

Clause 4.11.1:

Add the following:

“The employer reserves to himself the right, in his sole discretion, to reject any Tender where it appears to the employer that the Tenderer does not comply with any of the requirements.

The requirements for the site supervisor are: Plumbing certificate from an accredited institution.

The Contractor will, at all times, have a suitably qualified supervisor on site.

Clause 5.3.1:

The documentation required before commencement with Works execution are:

- Health and Safety Plan (Refer Clause 4.3)

- Letter of Good standing from compensation commission

Clause 5.3.2:

The time to submit the documentation required before commencement with Works execution is within 7 days of receipt of the signed Form of Offer and Acceptance.

Clause 5.4.4:

Add the following new clause:

“The Contractor shall bear all costs and charges for special and temporary rights of way required by him in connection with access to the Site. The Contractor shall also provide at his own cost any additional facilities outside the Site required by him for the purposes of the Works.”

Clause 5.8.1:

The non-working days are Sundays.

The special non-working days are:

All gazetted public holidays and the Contractor’s year-end break as specified by SAFCEC.

Clause 5.13.1:

The penalty for failing to complete the Works is R 500.00 excluding VAT per calendar day or part thereof.

Clause 5.16.3:

The latent defects period is one (1) year.

Clause 6.8.2:

Contract Price Adjustment is not applicable to this Contract:

Clause 6.10.2:

Add the following:

“No Payment to the Contractor for any materials on site shall only be authorized after proof of ownership by the Contractor has been lodged with the employer.”

The Contractor will submit with his claim, on the prescribed form, for each serviced erf/stand, the street address, GPS coordinates of the erf/stand, details of work performed and equipment supplied and pictures of the work done.

Clause 6.10.3:

The percentage retention on the amounts due to the Contractor is 10%.

The limit of retention money is 5% of Contract sum

A Retention Money Guarantee in lieu of retention is not permitted.”

Clause 8.2.1:

Add the following:

“The Contractor shall protect the Works properly and shall so arrange his operations that the minimum danger and inconvenience are caused to the public and to vehicle and pedestrian traffic.  For this purpose, he shall, inter alia, provide and maintain sufficient road traffic signs, lights, barricades, fencing and guarding as may be necessary or required by the Employer or by any act, regulation or statutory authorities.

All operations required in connection with the execution and completion of the Works shall, as far as the provisions of the Contract permit, not unnecessarily or in any improper manner encroach upon the use of public roads or upon access to private property, and the Contractor hereby indemnifies the Employer against any claims, demand, damage and costs that may arise in this regard.

Compensation for such obligations shall be included in the Contractor’s prices for provisional and general costs, except in as far as provision is made in the specifications for payment in respect of specific items pertaining to these obligations.”

Clause 8.6.1.1.2:

The value of Plant and materials supplied by the Employer to be included in the insurance sum is zero (R0.00) rand.

Clause 8.6.1.1.3:

The amount to cover professional fees for repairing damage and loss to be included in the insurance sum is zero (R 0.00) rand.

Clause 10:

Add the following:

“Dispute resolution shall initially be by means of ad-hoc adjudication as per Clause 10.5.2.  Should adjudication not be successful, then the dispute shall be referred to Arbitration under the provisions of Clause 10.7.1.”

Clause 10.5.3:

The number of Adjudication Board Members to be appointed is three (3).

Clause 1.1.1.9:

The name of the Contractor is:

[The Legal name of the Contractor].

Clause 1.2.1.2:

The address of the Contractor is

Physical Address:

Postal Address:

Telephone No:

Fax No:

E-mail:

C1.3.3	FORM 1:  OVERALL PROJECT WORKER SCHEDULE (local labourers only)

Project No. ………………………………..	 Project Name: ………………………………………………………

Month of Report: …………………………………				Sheet: ………….. of ………….

Names of all Local Labourers employed at any time on the project are to be entered in the table below irrespective of how long they worked on the project.

| No. | Name of local labourer |  | Identity Number | Month Worker Started Work | Age | Female Head of Household With Dependants | Disabled | Skilled/ Semi- skilled |  | Place a tick in the box which corresponds to the Gender and Age of the Worker |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  | Women |  | Men |  |  |
|  |  |  |  |  |  | (Tick if Yes) | (Tick if Yes) | (Tick if Yes) |  | Over 35 yrs | 35 yrs & under | Over 35 yrs | 35 yrs & under |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Total No. |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Employed |  |  |  |
| ##### Totals for this sheet |  |  |  |  |  |  |  |  |  |  |  |  |  |  | On the |  |  |  |
| Totals from previous sheet |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Project |  |  |  |
| Totals carried forward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Completed by: Name: …………………………….…… Signature:……………………………

Capacity …………………………… Date:………………………….

C1.3.6	CERTIFICATE OF AUTHORITY FOR SIGNATORY TO AGREEMENT IN TERMS OF OCCUPATIONAL HEALTH AND SAFETY ACT 1993 (ACT No 85 OF 1993 AS UPDATED IN GOV. GAZETTE 7721 OF 18 JULY 2003)

The signatory for the company in terms of the above-mentioned Act shall confirm his / her authority thereto by attaching to this page a duly signed and dated copy of the relevant resolution of the Board of Directors.

An example is given below:

“By resolution of the Board of Directors passed at a meeting held on ........................................

Mr/Ms ................................................................................................. whose signature appears

below, has been duly authorised to sign the AGREEMENT IN TERMS OF THE OCCUPATIONAL HEALTH AND SAFETY ACT 1993 (ACT 85 OF 1993 as updated) on behalf

of...................................................................................................................................................

SIGNED ON BEHALF OF THE COMPANY:................................................................................

IN HIS/HER CAPACITY AS:.........................................................................................................

DATE:............................................................................

SIGNATURE OF SIGNATORY:...................................................................................................

WITNESS:		1......................................................  2................................................

NAME (IN CAPITALS)	1......................................................  2................................................

C1.3.7  	AGREEMENT IN TERMS SECTION 37.2 OF THE OCCUPATIONAL HEALTH AND SAFETY ACT 1993 (ACT NO. 85 OF 1993, AS UPDATED IN GOVERNMENT GAZETTE 7721 OF 18 JULY 2003)

THIS AGREEMENT is made at .................................................................. on this the ...................... day

of........................in the year..................... between the Oko Trading 1020

(hereinafter called "the Client") of the one part, herein represented by

.....................................................................in his capacity as ...........................…………………

and delegate of the Client in terms of the Client's standard powers of delegation pursuant to the provisions of Act No 7 of 1998.

and ......................................................................................................................................

(hereinafter called "the Mandatory") of the other part, herein represented by

......................................................................in his capacity as .............………....………….........

and being duly authorised by virtue of a resolution appended hereto as Annexure A.

WHEREAS the Client is desirous that certain works be constructed, viz

CONTRACT No: …………………………… : RETROFITTING OF EXISTING INLINE VALVE CHAMBERS AND HYDROSTATIC PRESSURE TESTING OF DN300 PIPELINE FROM ALEXANDRIA TRANSFER PUMP STATION TO ALEXANDRIA RESERVOIR and has accepted a Tender by the Mandatory for the construction, completion & maintenance of such works and whereas the Client and the Mandatory have agreed to certain arrangements and procedures to be followed in order to ensure compliance by the Mandatory with the provisions of the Occupational Health and Safety Act 1993 (Act 85 of 1993 as updated);

NOW THEREFORE THIS AGREEMENT WITNESSETH AS FOLLOWS:

1	The Mandatory shall execute the work in accordance with the Contract documents pertaining to this Contract;

2 	This Agreement shall hold good from its commencement date, which shall be the date determined in terms of the Form of Offer and Acceptance, or other date decided upon, in the Contract Data, to either;

a)	The date of the final certificate issued or as contained in this Volume _____ of the Contract documents pertaining to this Contract, or

b)	The date of termination of the Contract;

3	The Mandatory declares himself to be conversant with the following:

- All the requirements, regulations and standards of the Occupational Health and Safety Act (Act 85 of 1993 as updated), hereinafter referred to as "The Act", together with its amendments and with special reference to the following Sections of The Act.

  - Section 8:	General duties of clients to their employees;

  - Section 9:	General duties of clients and self-employed persons to persons other than employees;

  - Section 10:	General duties of manufacturers and others regarding articles   and substances for use at work;

  - Section 37:	Acts or omissions by employees or Mandatories, and

  - Sub-section 37(2) relating to the purpose and meaning of this Agreement.

b)	The Contractor shall ensure that he familiarises himself with the requirements of the Company’s health and safety specification developed for the project, and that he, his employees and any other Contractors employed during the project comply with them. The Contractor shall ensure that all health and safety documentation required by with the Company’s health and safety plan is maintained for the duration of the project.

4	In addition to the requirements of conditions of Contract (as amended by the Contract Data of the Contract documents pertaining to this Contract), the Mandatory agrees to execute all the works forming part of this Contract and to operate and utilize all machinery, plant and equipment in accordance with The Act.

- The Mandatory is responsible for the compliance with the Act by all his Contractors, whether or not selected and/or approved by the Client.

- The Mandatory warrants that all his own and his Contractors’ workmen are covered in terms of the Compensation for Occupational Injuries and Diseases Act 1993 as amended, which cover shall remain in force whilst any such workmen are present on site.  A letter of good standing from the Compensation Commissioner to this effect must be produced to the Client upon signature of the agreement.

- The Mandatory undertakes to ensure that he and/or Sub Contractors and/or their respective clients will at all times comply with the following conditions:

- The Mandatory shall assume the responsibility in terms of Section 16.1 of the Occupational Health and Safety Act.  The mandatory shall not delegate any duty in terms of Section 16.2 of this Act without the prior written approval of the Client.  If the mandatory obtains such approval and delegates any duty in terms of section 16.2 a copy of such written delegation shall immediately be forwarded to the Client.

- All incidents referred to in the Occupational Health and Safety Act shall be reported by the Mandatory to the Department of Labour as well as to the Client.  The Client must further be provided with copies of all written documentation relating to any incident.

- The Client hereby obtains an interest in the issue of any formal enquiry conducted in terms of section 32 of the Occupational Health and Safety Act into any incident involving the Mandatory and/or his employees and/or his Contractors.

- The Mandatory shall conduct such risk assessments, method statements and safe work practices as may be necessary during the course of the Contract and shall ensure that all staff are informed of these. Proof of this shall be placed in the project Health and Safety file.

- Adherence to the Contractor’s Health and Safety plan must be enforced including the application of penalties for non-conformance as set out in the Client’s Health and Safety Specification.

In witness thereof the parties hereto have set their signatures hereon in the presence of the subscribing witnesses:

SIGNED FOR AND ON BEHALF OF THE CLIENT:.....................................................................

WITNESS:		1........................................................   2............................................

NAME (IN CAPITALS)	 1...............................................	   2...............................................

SIGNED FOR AND ON BEHALF OF THE MANDATORY:..........................................................

WITNESS:		1....................................................	2...............................................

NAME (IN CAPITALS)	1....................................................	2...............................................

C1.3.8	CERTIFICATE OF AUTHORITY FOR SIGNATORY TO AGREEMENT IN TERMS OF THE CONSTITUTION OF THE REPUBLIC OF SOUTH AFRICA, ENVIRONMENTAL CONSERVATION ACT AND ENVIRONMENTAL MANAGEMENT ACT

The signatory for the company in terms of the above-mentioned Act shall confirm his or her authority thereto by attaching to this page a duly signed and dated copy of the relevant resolution of the Board of Directors.

An example is given below:

“By resolution of the Board of Directors passed at a meeting held on 	,

Mr./Ms ……………………………………………………………… whose signature appears below, has been duly authorised to sign the AGREEMENT IN TERMS OF THE CONSTITUTION OF THE REPUBLIC OF SOUTH AFRICA, ENVIRONMENTAL CONSERVATION ACT AND ENVIRONMENTAL MANAGEMENT ACT  on behalf of ……………………………………………(the Contractor)

SIGNED ON BEHALF OF THE COMPANY

IN HIS/HER CAPACITY AS

DATE

SIGNATURE OF SIGNATORY

Witness		Witness

- Name		Name

C1.3.9	AGREEMENT IN TERMS OF THE CONSTITUTION OF THE REPUBLIC OF SOUTH AFRICA, ENVIRONMENTAL CONSERVATION ACT AND ENVIRONMENTAL MANAGEMENT ACT

THIS AGREEMENT made at......

on this the 	day of 	in the year

between Oko Trading  (hereinafter called “the Employer”) of the one part,

herein represented by ……………………..……... in his capacity as …………………..………...

and delegate of the Employer in terms of the Employer’s standard powers of delegation

and

(hereinafter called “the Mandatory”) of the other part,

herein represented by 	in his capacity as

and being duly authorised by virtue of a resolution appended hereto as Annexure B;

WHEREAS the Employer is desirous that certain works be constructed, viz.

CONTRACT No: ………………………………: RETROFITTING OF EXISTING INLINE VALVE CHAMBERS AND HYDROSTATIC PRESSURE TESTING OF DN300 PIPELINE FROM ALEXANDRIA TRANSFER PUMP STATION TO ALEXANDRIA RESERVOIR and has accepted a Tender by the Mandatory for the construction, completion & maintenance of such works, and whereas the Employer and the Mandatory have agreed to certain arrangements and procedures to be followed in order to ensure compliance by the Mandatory with the provisions of the Constitution of the Republic of South Africa, the Environmental Conservation Act and the Environmental Management Act;

NOW THEREFORE THIS AGREEMENT WITNESSES AS FOLLOWS:

1.	The Mandatory shall execute the work in accordance with the Contract documents pertaining to this Contract.

2.	This Agreement shall hold good from its commencement date, which shall be the date determined under Clause 5.4.1 of the Contract Data to either:

a)	the date of the final certificate issued in terms of Clause 5.16.1 of the General Conditions of Contract (hereinafter referred to as “the GCC”), as contained in this volume of the Contract documents pertaining to this Contract, or

b)	the date of termination of the Contract in terms of Clause 9.2.1 of the GCC.

3.	The Mandatory declares himself to be conversant with the following:-

All the requirements, regulations and standards of Section 24 of the Constitution of the Republic of South Africa (Act No 108 of 1996)² * the Environmental Conservation Act (Act No 73 of 1989) and the National Environmental Management Act (Act No 107 of 1998), hereinafter referred to as “The Act”, together with its amendments of The Act.

4.	In addition to the requirements of Clause 8.2 of the GCC (as amended in the Contract Data contained in Volume 3 of the Contract documentation pertaining to this Contract) and all relevant requirements of the above mentioned Volume 3, the Mandatory agrees to execute all the works forming part of this Contract and to operate and utilize all machinery, plant and equipment in accordance with an Environmental Management Plan.

5.	The Mandatory is responsible for the compliance with the Act and Environmental Management Plan by all his sub-Contractors, whether or not selected and/or approved by the Employer.

*  Refer to note 2 overleaf for Section 24 of the Constitution.

²Environment: Extract from Section 24 of the Constitution of the Republic of South Africa.

- Everyone has the right –

- to an environment that is not harmful to their health or well-being; and

- to have the environment protected, for the benefit of present and future generations, through reasonable legislative and other measures that –

- prevent pollution and ecological degradation;

- promote conservation; and

- secure ecologically sustainable development and use of natural resources while promoting justifiable economic and social development.

In witness thereof the parties hereto have set their signatures hereon in the presence of the subscribing witnesses:

SIGNED FOR AND ON BEHALF OF THE EMPLOYER:......................................................................

WITNESS:	1.......................................................	2........................................................

NAME (IN CAPITALS)1.....................................................	….	2........................................................

SIGNED FOR AND ON BEHALF OF THE MANDATORY:.....................................................................

WITNESS:	1......................................................	2............................................................

NAME (IN CAPITALS)1......................................................	2............................................................

PART C2:	PRICING DATA

C2.1	Pricing Instructions

C2.2 Bill of Quantities and Final Summary

C2.1 PRICING INSTRUCTIONS

1.	 BILLS OF QUANTITIES

No alterations, erasure, omission or addition is to be made in the text and conditions of these Bills of Quantities and should any such alterations, amendments, note or addition be made, the same will not be recognized, but the reading of these Bill of Quantities as prepared by the Engineer will be adhered to.

The Contractor is warned that should he use any quantities appearing in these Bills of Quantities for the purpose of ordering material, he does so at his own risk and no liability whatsoever will be admitted by the Employer or Engineer for the correctness of such Quantities.

2.	STANDARD SYSTEM OF MEASURING BUILDING WORK

These Bills of Quantities have been compiled in accordance with SANS 1200 Standardized Specifications for Civil Engineering Construction referred to in the Scope of Work, including the latest amendments.  Tenderer’s attention is specifically drawn to the “shall be deemed to include” clauses that have to be read in conjunction with the applicable items.

3.	PRIME COST AMOUNTS AND PROVISIONAL SUMS

All Prime Cost Amounts and Provisional Sums included in these Bills of Quantities are NET, i.e. no cash discount to the Contractor is included.

4.	TRADE NAMES

Tenderers are advised that their prices for articles described by trade names or catalogue references must be based upon the type and manufacture specified in these Bills of Quantities. Where articles other than the manufacture specified are to be used, an adjustment of the prices will be made and Variation Orders issued to cover these adjustments. Substitution will be strictly subject to the Representative / Agent’s approval.

5.	SABS / SANS SPECIFICATIONS

All references in these Bills of Quantities to Specifications of the Bureau of Standards shall be deemed to be reference to the latest issues of such Specifications, and any subsequent amendments thereto. All articles, materials or items described as to conform to the SABS/SANS Specifications must bear the SABS/SANS mark.

6.       CONTRACT PRICE ADJUSTMENT PROVISIONS (CPAP)

The Contract price adjustment shall not apply.

7.	VALUE ADDED TAX

The Tender price must include for Value Added Tax (VAT) if applicable.  All rates in these bills of quantities must however be net with VAT calculated and added to the total value thereof in the Final Summary.

8.      TAX CLEARANCE CERTIFICATE

Please note that a “TAX CLEARANCE CERTIFICATE (IN RESPECT OF TENDERS)” MUST BE HANDED IN WITH THE TENDER FORM.  FAILURE TO DO SO MAY INVALIDATE THE TENDER.  Form ST5.1, attached to the Tender form, must be completed and handed in at any office of the South African Revenue Services (SARS) to obtain the “Tax Clearance Certificate (in respect of Tenders)”

9.	CONDITIONS OF CONTRACT

The Conditions of Contract is the General Conditions of Contract for Construction Works (GCC 2015 3rd Edition).

10.       BILL OF QUANTITIES

1 Measurement and payment shall be in accordance with the relevant provisions of clause 8 of each of the SANS 1200 Standardized Specifications for Civil Engineering Construction referred to in the Scope of Work. The Preliminary and General items shall be measured in accordance with the provisions of SANS 1200-A, General. 2. The units of measurement described in the Bills of Quantities are metric units. Abbreviations used in these Bills of Quantities are as follows: % = percent h = hour kl = kilolitre km = kilometre l = litre m = metre m² = square metre m³ = cubic metre No. = number Prov sum = Provisional sum PC sum = Prime Cost sum R/only = Rate only sum = lump sum t = ton (1000 kg) W/day = Work day LI = Labour Intensive (To be carried out by Labour methods) 3. Unless otherwise stated, items are measured net in accordance with the drawings, and no allowance is made for waste. 4. The prices and rates in these Bills of Quantities are fully inclusive prices for the work described under the items. Such prices and rates cover all costs and expenses that may be required in and for the execution of the work described in accordance with the provisions of the Scope of Work, and shall cover the cost of all general risks, liabilities, and obligations set forth or implied in the Contract Data, as well as overhead charges and profit. These prices will be used as a basis for assessment of payment for additional work that may have to be carried out. 5 It will be assumed that prices included in these Bills of Quantities are based on Acts, Ordinances, Regulations, By-laws, International Standards and National Standards that were published 28 days before the closing date for Tenders. (Refer to www.stanza.org.za or www.iso.org for information on standards) 6 Where the Scope of Work requires detailed drawings and designs or other information to be provided, all costs associated therewith are deemed to have been provided for and included in the unit rates and sum amount Tendered such items 7. An item against which no price is entered will be considered to be covered by the other prices or rates in the Bills of Quantities. A single lump sum will apply should a number of items be grouped together for pricing purposes. 8. The quantities set out in these Bills of Quantities are approximate and do not necessarily represent the actual amount of work to be done. The quantities of work accepted and certified for payment will be used for determining payments due and not the quantities given in the Bills of Quantities. 9. Reasonable compensation will be received where no pay item appears in respect of work required in the Bills of Quantities in terms of the Contract and which is not covered in any other pay item. 10. The short descriptions of the items of payment given in these Bills of Quantities are only for the purposes of identifying the items. More details regarding the extent of the work entailed under each item appear in the Scope of Work. 11. Descriptions in the Bills of Quantities are abbreviated and comply generally with those in the SANS 1200 Standardized Specifications.

BILL OF QUANTITIES

| ITEM NO | PAYMENT CLAUSE | Description | LABEL ON DRAWINGS | UNIT | QUANTITY | PRICE | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Potable Water Supply from Alexandria Transfer Pumpstation to Alexandria: DN300 inline isolation valve chamber retro-fitting detail (Drawing No Z3-C-0110) |  |  |  |  |  |
|  |  | SECTION A: DEMOLITIONS (Existing IV Chamber) |  |  |  |  |  |
|  |  | All demolitions and works on site must be carried out carefully and in the safest possible manner and the Contractor is to make a thorough examination and take all necessary precautions before proceeding with the work. The utmost care is to be observed to avoid any damage to existing chamber pipe fittings and isolation valve |  |  |  |  |  |
|  |  | The Sub-Contractor must visit the site and the existing valve chambers and acquaint himself fully with conditions and scope of demolitions. Descriptions herein are brief and are to serve as a means of identifying work only. The full extent of work is to be assessed by the sub-contractor on site. |  |  |  |  |  |
| A1 |  | Break down and remove the Isolation Valve chamber with concrete roof slab of approximately 1,42 x 1,42m (2,016m2) on plan, 1.0m x 1.0m (1.0m2) internal area (wall to wall) and average 1,5m high, comprising of 200mm thick concrete floor slab, 220mm thick brick walls, pipe and Isolation valve fittings, etc including any necessary excavations, filling, compaction, roughly levelling ground surface, carting away, etc | N/A | NO | 1 |  |  |
|  | SECTION A: TOTAL CARRIED FORWARD TO SUMMARY |  |  |  |  |  |  |

| ITEM NO | PAYMENT CLAUSE | Description | LABEL ON DRAWINGS | UNIT | QUANTITY | PRICE | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Potable Water Supply from Alexandria Transfer Pumpstation to Alexandria: DN300 inline isolation valve chamber retro-fitting detail (Drawing No Z3-C-0110) |  |  |  |  |  |
|  |  | SECTION B: EXCAVATIONS |  |  |  |  |  |
|  | SANS 1200 D | EARTHWORKS |  |  |  |  |  |
|  | PSD 8.3.3 | Restricted Excavation |  |  |  |  |  |
| B1 |  | a) Excavate for restricted foundations, footings and pipe trenches in all materials and use for backfill or embankment or dispose | N/A | m3 | 16,92 |  |  |
|  |  | b) Extra-over for: |  |  |  |  |  |
| B2 |  | 1) Hard rock excavation | N/A | m3 |  |  | Rate Only |
| B3 |  | c) Extra over subitem (a) for hand excavation | N/A | m3 |  |  | Rate Only |
| B4 | 8.3.9 | Extra-over backfill or for fill material against structures (brickwalled isolation valve chamber | N/A | m3 | 6,00 |  |  |
|  | SANS 1200 DB | EARTHWORKS (Pipe Trenches) |  |  |  |  |  |
|  | PSDB 8.3.2 | Excavate in all materials for trenches, backfill, compact and dispose of surplus material: |  |  |  |  |  |
|  |  | Pipes over 125 mm dia up to 700 mm dia for depths: |  |  |  |  |  |
| B5 |  | i) Up to 1,0 m | N/A | m3 |  |  | Rate Only |
| B6 |  | ii) Over 1,0 m up to 2,0 m | N/A | m3 | 5,468 |  |  |
|  | SECTION B: TOTAL CARRIED FORWARD TO SUMMARY |  |  |  |  |  |  |

| ITEM NO | PAYMENT CLAUSE | Description | LABEL ON DRAWINGS | UNIT | QUANTITY | PRICE | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | SECTION C: CHAMBER PIPEWORK AND |  |  |  |  |  |
|  |  | VALVES |  |  |  |  |  |
|  | SANS 1200 L AUR7001, AUR7016, AUR7023, SPEC GRP | MEDIUM PRESSURE PIPELINES |  |  |  |  |  |
|  | 8.2.1 | Supply, lay and bed pipe specials in chambers and in ground, complete with corrosion protection, fasteners and gaskets: |  |  |  |  |  |
|  |  | Potable Water Supply from Alexandria Transfer Pumpstation To Alexandria: DN300 Inline Isolation Valve Chamber Retro-Fitting Detail (100286-Z3-DWG-C-0110-T0) |  |  |  |  |  |
| C1 |  | DN 300 stainless steel puddle pipe flanged end; 3500mm F/F,PN25 (item 1) | 1 | No | 1,00 |  |  |
| C2 |  | DN300 SN5000 PN25 replacement pipes with REKA-couplings (Flowtite pipe), including one coupling per pipe length (6m) | 2 | No | 3,00 |  |  |
| C3 |  | DN300 GRP PIPE, SN 5000 | A | No | 1,00 |  |  |
| C4 |  | DN 300 long-barrel flange adaptor (VJ), PN25 | B | No | 1,00 |  |  |
| C5 |  | DN 300 flanged RSV gate (Isolation) valve, flanged, PN25 | C | No | 1,00 |  |  |
| C6 |  | DN 300 long-barrel flange adaptor (VJ), PN25 | D | No | 1,00 |  |  |
| C7 |  | DN300 GRP PIPE, SN 5000 | E | No | 1,00 |  |  |
|  | SECTION C: TOTAL CARRIED FORWARD TO SUMMARY |  |  |  |  |  |  |

| ITEM NO | PAYMENT CLAUSE | Description | LABEL ON DRAWINGS | UNIT | QUANTITY | PRICE | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | SANS 1200 | SECTION D: CHAMBER CONCRETE |  |  |  |  |  |
|  | SANS | CONCRETE (STRUCTURAL) |  |  |  |  |  |
|  | 1200 G | as specified in SANS 1200 G and in the project specifications |  |  |  |  |  |
|  | 8,2 | Formwork: |  |  |  |  |  |
|  | 8.2.1 | (a) Rough: |  |  |  |  |  |
|  |  | Vertical formwork to: |  |  |  |  |  |
| D1 |  | (i) Sides of horizontal floor slab (chamber) | N/A | m2 | 1,95 |  |  |
| D2 |  | (ii) Sides of horizontal roof slab(chamber) | N/A | m2 | 1,95 |  |  |
| D3 |  | (ii) Sides of horizontal base slab (Thrust Block) | N/A | m2 | 2,34 |  |  |
|  | 8.2.2 | (b) Smooth: |  |  |  |  |  |
|  |  | Horizontal formwork to: |  |  |  |  |  |
| D4 |  | (i) Under roof slab soffit (chamber) | N/A | m2 | 5,94 |  |  |
|  |  | Vertical formwork to: |  |  |  |  |  |
| D5 |  | (ii) Sides of Walls (Thrust Block) | N/A | m2 | 6,42 |  |  |
|  | 8.2.5 | Narrow widths up to 300 mm wide: |  |  |  |  |  |
|  |  | (b) Grooves, chases and splays in the following ranges: |  |  |  |  |  |
| D6 |  | (i) 20 mm x 20 mm horizontals chamfers (smooth) | N/A | m | 26,72 |  |  |
|  | 8,3 | Reinforcement: ( Thrust Block & Chamber) |  |  |  |  |  |
|  | 8.3.1 | (a) Mild steel bars: |  |  |  |  |  |
| D7 |  | (ii) 10 mm dia | N/A | t |  |  |  |
|  | PSG 8.3.2 | (b) High tensile steel bars: |  |  |  |  |  |
| D8 |  | (i) 10 mm dia | N/A | t | 0,04 |  |  |
| D9 |  | (ii) 12 mm dia | N/A | t | 0,14 |  |  |
| D10 |  | (iii) 16 mm dia | N/A | t | 0,07 |  |  |
| D11 |  | (iv) 20 mm dia | N/A | t | 0,04 |  | Rate Only |
|  |  | (c) Mesh Reinforcement |  |  |  |  |  |
|  | TOTAL CARRIED FORWARD |  |  |  |  |  |  |

| ITEM NO | PAYMENT CLAUSE | Description | LABEL ON DRAWINGS |  | UNIT |  | QUANTITY |  | PRICE |  | AMOUNT |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | TOTAL BROUGHT FORWARD |  |  |  |  |  |  |  |  |  |  |  |
| D12 |  | Mesh Ref 617 (Chamber Roof and Bottom Slabs) | N/A |  | m2 |  | 11,89 |  |  |  |  |  |
|  | PSG 8.4 | Concrete |  |  |  |  |  |  |  |  |  |  |
|  | 8.4.2 | Blinding layer in 15MPa/19 mm concrete: |  |  |  |  |  |  |  |  |  |  |
| D13 |  | (i) 75 mm minimum thickness (Chamber) | N/A |  | m2 |  | 5,94 |  |  |  |  |  |
| D14 |  | (ii) 75 mm minimum thickness (Thrust Block) | N/A |  | m2 |  | 3,08 |  |  |  |  |  |
|  | PSG 8.4.3 | Strength concrete: |  |  |  |  |  |  |  |  |  |  |
|  |  | 35MPa/19mm (watertight reinforced concrete): |  |  |  |  |  |  |  |  |  |  |
| D15 |  | (i) 200mm Floor Slab (Chamber) | N/A |  | m3 |  | 1,19 |  |  |  |  |  |
| D16 |  | (ii) 200 mm Roof Slab (Chamber) | N/A |  | m3 |  | 1,19 |  |  |  |  |  |
| D17 |  | (iii) Base slab (Thrust Block) | N/A |  | m3 |  | 0,92 |  |  |  |  |  |
| D18 |  | (iv) 300 mm walls (Thrust Block) | N/A |  | m3 |  | 0,38 |  |  |  |  |  |
|  | PSG 8.4.4 | Unformed surface finishes: |  |  |  |  |  |  |  |  |  |  |
|  |  | (a) Wood-floated finish: |  |  |  |  |  |  |  |  |  |  |
| D19 |  | (i) Top of floor slab (Chamber) | N/A |  | m2 |  | 5,94 |  |  |  |  |  |
| D20 |  | (ii) Top of base slab (Thrust Block) | N/A |  | m2 |  | 2,24 |  |  |  |  |  |
|  |  | (b) Steel-floated finish: |  |  |  |  |  |  |  |  |  |  |
| D21 |  | (i) Top of wall (Thrust Block) | N/A |  | m2 |  | 0,84 |  |  |  |  |  |
| D22 |  | (ii) Top of roof slab (Chamber) | N/A |  | m2 |  | 5,94 |  |  |  |  |  |
|  | PSG 8.5 | Joints |  |  |  |  |  |  |  |  |  |  |
|  |  | Expansion/contraction joints as detailed on the Drawings and/or specified in the Project Specification: |  |  |  |  |  |  |  |  |  |  |
|  |  | (a) Joint type F (1.6mm x 300mm wide galvanised strip with 300mm overlap) |  |  |  |  |  |  |  |  |  |  |
| D23 |  | (i) Through walls (Thrust Block) | N/A |  | m |  | 2,80 |  |  |  |  |  |
|  | PSG 8.10 | Cast in of pipes with or without puddle flanges through concrete (including hydrophilic rubber sealant as specified on drawings, where necessary): |  |  |  |  |  |  |  |  |  |  |
|  |  | (a) Over 300 and up to 600 mm nominal bore: |  |  |  |  |  |  |  |  |  |  |
|  | TOTAL CARRIED FORWARD |  |  |  |  |  |  |  |  |  |  |  |
| ITEM NO | PAYMENT CLAUSE | Description | LABEL ON DRAWINGS | UNIT |  | QUANTITY |  | PRICE |  | AMOUNT |  |
|  | TOTAL BROUGHT FORWARD |  |  |  |  |  |  |  |  |  |  |
| D24 |  | (i) Through walls (Thrust Block) | N/A | No |  | 1,00 |  |  |  |  |  |
| D25 |  | Petrolatum tape with taped 100 mm laps and perforated at 500 mm c/c in two orthogonal directions | N/A | m2 |  | 2,00 |  |  |  |  |  |
|  |  | Concrete test cubes: |  |  |  |  |  |  |  |  |  |
| D26 |  | Allow for all necessary concrete test cubes size 150 x 150 x 150mm cast from batches of concrete required, for the entire contract as specified, made, stored, cured and tested in accordance with SABS Methods 861 and 863, including use and waste of approved cube moulds, transporting to an approved testing laboratory for testing, paying all charges and submitting reports to the Engineer. | N/A | No |  | 6,00 |  |  |  |  |  |
|  | SECTION D: TOTAL CARRIED FORWARD TO SUMMARY |  |  |  |  |  |  |  |  |  |  |

| ITEM NO | PAYMENT CLAUSE | Description | LABEL ON DRAWINGS | UNIT | QUANTITY | PRICE | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | SECTION E: MASONRY (IV Chamber) |  |  |  |  |  |
|  |  | For Preambles refer to "Department of Public Works: |  |  |  |  |  |
|  |  | Specification Of Materials And Methods To Be Used - |  |  |  |  |  |
|  |  | PW371". |  |  |  |  |  |
|  |  | BRICKWORK IN CEMENT MORTAR |  |  |  |  |  |
| E1 |  | One brick wall in foundation | N/A | m2 | 12,38 |  |  |
|  | SECTION E: TOTAL CARRIED FORWARD TO SUMMARY |  |  |  |  |  |  |

|  |  | SUMMARY OF SECTIONS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| SECTION NO |  | DESCRIPTION |  |  |  |  | AMOUNT (R) |
| A |  | DEMOLITIONS (EXISTING IV CHAMBER) |  |  |  |  |  |
| B |  | EXCAVATIONS (EARTHWORKS) |  |  |  |  |  |
| C |  | CHAMBER PIPEWORK AND VALVES |  |  |  |  |  |
| D |  | CHAMBER CONCRETE |  |  |  |  |  |
| E |  | MASONRY (BRICKWORK) |  |  |  |  |  |
|  |  | SUB-TOTAL OF PRICED ITEMS |  |  |  |  |  |
|  |  | SUB-TOTAL OF TENDER |  |  |  |  |  |
|  |  | ADD 15% FOR VALUE ADDED TAX |  |  |  |  |  |
|  |  | GROSS TOTAL OF TENDER |  |  |  |  |  |
|  |  | Carried to C1.1, Form of Offer |  |  |  |  |  |

Tender Summary

  - Total Tendered Amount                           R

  - Value added Tax at 15%        		    R___________________

  - Total Amount Inclusive of VAT                R

PART C3 – SCOPE OF WORKS

# C3.1 DESCRIPTION OF WORKS

1       	DESCRIPTION OF THE WORKS

1.1    Employer’s Objectives

The objective of the project is to is to address leaks in the domestic plumbing equipment installations within the indigent townships.

1.2    Overview of the Works

The scope comprises the retrofitting of inline isolation valve chambers and DN300 GRP Pipeline testing from the Alexandria Main Transfer Pump-station to the Alexandria Reservoir in the OKO 1020 Trading. The objective being to minimize water losses through leaks and to ensure that water usage is metered for billing purposes.

The scope includes the demolition and reconstruction of isolation valve chambers, etc.

The scope includes:

  - Demolition and re-construction of Isolation Valve chambers (subcontractor)

  - Excavations to expose pipes with leaks (subcontractor)

  - Construction of temporary test sections valve chambers and installations of pipe fitting, valves, etc to be done by OKO TRADING (Main Contractor) only.

  - DN 300 GRP hydrostatic pressure testing to be done by OKO TRADING (Main Contractor) only.

1.3     Location of the Works.

The following indigent communities has been targeted for this project:

- Alexandria

- Marselle

- Ekuphumleni

- Port Alfred (Nemato & Stationhill)

- Bathurst (Nolukhanyo)

Note: Only one (1) of the above areas out of the above five (5) areas will be allocated to each SMME per tender.

- CONSTRUCTION

2.1	Applicable National and International Standards

The works are to be constructed in accordance with SANS/SABS 1200 and its related project specifications.

2.2 	Project Specifications

All materials used will carry the SABS mark of approval, the contractor will be required to submit proof of purchase (invoice) for materials used upon approval of each payment certificate. No claims will be processed without proof of material purchased.

2.3        Methodology

The Municipality will allocate a job card to the appointed contractor with the relevant water plumbing scope within the designated township. The contractor will then be required to execute work timeously and request for inspection by a municipal official prior to the certification of payment.

The Municipality will only be paying the contractors for work done on site, as per the client’s authorized works order which must be issued prior to commencement of work for every household.

All replaced materials/rubble, to be removed from the site. All items of infrastructure removed remain the property of the municipality and are to be deposited at a site allocated by the Municipality.

  - Payment

Due to the structure of the project, there will be no allowance for P&G items. All costs to be allowed for in the quotation.

The Contractors claim is to be accompanied by a completed set of prescribed forms, detailing the work carried out at each unit, stating the residential address, GPS coordinates (DMS) and details of supplies and work done.